## Measured Data
Proposed method for approximately removing the effects of the first parallel resonance due to winding capacitance from the measured series inductance
Bryce Hesterman
2025-11-25
www.verimod.com
| Data Row where inductance is first negative | [5 empty] | 273
| Interpolate Frequency where inductance is zero (resonant frequency) | [5 empty] | 676870.9243
| Pick inductance value just before resonant effects are noticible | [5 empty] | 1612.2217
| Find parallel capacitance, Cp, that resonates with selected inductance value at resonant frequency | [5 empty] | 3.4293e-11
| Reference for series-parallel conversions |  |  | https://www.eetimes.com/convert-parallel-impedances-to-series-impedances/
|  |  |  | Radian Frequency | Series Inductor Reactace | Equivalent Parallel Inductance Reactance | Parallel Resistance | Cp Reactance | Corrected Parallel Inductor Reactance | Corrected Series Inductor Reactance | Corrected Series Inductor Resistance | Corrected Series Inductance | Original Series Inductance | Corrected Q
Data measured with HP4194A
AC Measured
Data Row | Frequency, Hz |  |  | ω
1 | 10000 | 1697.4484 | 1.237 | 62831.8531 | 106.6538 | 106.6682 | 9196.9332 | -464105.1029 | 106.6437 | 106.6293 | 1.2364 | 1697.0584 | 1697.4484 | 86.2398
2 | 10156.578 | 1696.6571 | 1.2047 | 63815.6617 | 108.2733 | 108.2867 | 9731.9451 | -456950.267 | 108.261 | 108.2477 | 1.2042 | 1696.2553 | 1696.6571 | 89.8933
3 | 10315.608 | 1695.2944 | 1.2134 | 64814.8766 | 109.8803 | 109.8937 | 9951.3028 | -449905.7185 | 109.8669 | 109.8535 | 1.2128 | 1694.8806 | 1695.2944 | 90.576
4 | 10477.129 | 1693.7522 | 1.2247 | 65829.743 | 111.4993 | 111.5127 | 10152.4736 | -442969.7323 | 111.4847 | 111.4712 | 1.2241 | 1693.3261 | 1693.7522 | 91.0661
5 | 10641.178 | 1692.2581 | 1.2392 | 66860.4933 | 113.1452 | 113.1588 | 10331.8911 | -436140.7195 | 113.1294 | 113.1159 | 1.2386 | 1691.8193 | 1692.2581 | 91.3281
6 | 10807.796 | 1690.6433 | 1.253 | 67907.385 | 114.8072 | 114.8208 | 10520.5313 | -429416.9717 | 114.7901 | 114.7765 | 1.2523 | 1690.1914 | 1690.6433 | 91.6501
7 | 10977.022 | 1688.8954 | 1.255 | 68970.6633 | 116.4842 | 116.4978 | 10812.5252 | -422796.9142 | 116.4657 | 116.4522 | 1.2543 | 1688.4303 | 1688.8954 | 92.8387
8 | 11148.899 | 1687.1706 | 1.2577 | 70050.5984 | 118.1873 | 118.2007 | 11107.34 | -416278.8656 | 118.1671 | 118.1538 | 1.257 | 1686.6918 | 1687.1706 | 93.9969
9 | 11323.467 | 1685.6284 | 1.2819 | 71147.4415 | 119.9281 | 119.9419 | 11221.2609 | -409861.3109 | 119.9068 | 119.8931 | 1.2811 | 1685.1354 | 1685.6284 | 93.5832
10 | 11500.768 | 1683.9707 | 1.2888 | 72261.4565 | 121.6862 | 121.6998 | 11490.8135 | -403542.705 | 121.6631 | 121.6495 | 1.288 | 1683.4631 | 1683.9707 | 94.4478
11 | 11680.845 | 1682.3936 | 1.3364 | 73392.9137 | 123.4758 | 123.4902 | 11409.7611 | -397321.5147 | 123.4519 | 123.4374 | 1.3356 | 1681.871 | 1682.3936 | 92.4228
12 | 11863.741 | 1680.5275 | 1.3224 | 74542.0831 | 125.27 | 125.284 | 11868.3477 | -391196.2533 | 125.2439 | 125.2299 | 1.3215 | 1679.9896 | 1680.5275 | 94.7619
13 | 12049.502 | 1678.8448 | 1.3258 | 75709.2539 | 127.1041 | 127.1179 | 12187.1752 | -385165.381 | 127.076 | 127.0622 | 1.3249 | 1678.291 | 1678.8448 | 95.9046
14 | 12238.171 | 1677.191 | 1.3351 | 76894.6962 | 128.9671 | 128.9809 | 12459.6153 | -379227.5029 | 128.9371 | 128.9233 | 1.3341 | 1676.6208 | 1677.191 | 96.6333
15 | 12429.795 | 1675.5344 | 1.3466 | 78098.7053 | 130.8571 | 130.8709 | 12717.2443 | -373381.1401 | 130.8251 | 130.8112 | 1.3457 | 1674.9475 | 1675.5344 | 97.208
16 | 12624.418 | 1673.9978 | 1.3526 | 79321.5577 | 132.7841 | 132.7979 | 13037.1752 | -367624.9494 | 132.7499 | 132.7362 | 1.3516 | 1673.3934 | 1673.9978 | 98.2085
17 | 12822.089 | 1672.4447 | 1.3635 | 80563.5612 | 134.7381 | 134.7519 | 13315.715 | -361957.4805 | 134.7018 | 134.688 | 1.3625 | 1671.8224 | 1672.4447 | 98.8533
18 | 13022.856 | 1670.8467 | 1.3773 | 81825.0175 | 136.7171 | 136.7309 | 13572.1425 | -356377.3591 | 136.6785 | 136.6646 | 1.3763 | 1670.206 | 1670.8467 | 99.2998
19 | 13226.765 | 1669.3942 | 1.3902 | 83106.2155 | 138.737 | 138.751 | 13847.0278 | -350883.3058 | 138.6961 | 138.6822 | 1.3891 | 1668.7345 | 1669.3942 | 99.8372
20 | 13433.868 | 1667.7552 | 1.402 | 84407.482 | 140.771 | 140.785 | 14136.205 | -345473.9193 | 140.7276 | 140.7137 | 1.4008 | 1667.076 | 1667.7552 | 100.4508
21 | 13644.213 | 1666.2371 | 1.4099 | 85729.1186 | 142.845 | 142.859 | 14473.8277 | -340147.9462 | 142.799 | 142.7851 | 1.4087 | 1665.5378 | 1666.2371 | 101.3581
22 | 13857.852 | 1665.1433 | 1.3784 | 87071.4521 | 144.9864 | 144.9996 | 15251.7204 | -334904.0695 | 144.9368 | 144.9237 | 1.3772 | 1664.4228 | 1665.1433 | 105.2301 | Frequency, Hz
23 | 14074.836 | 1663.2589 | 1.4379 | 88434.8028 | 147.09 | 147.104 | 15047.6192 | -329741.0378 | 147.0384 | 147.0244 | 1.4367 | 1662.5173 | 1663.2589 | 102.338
24 | 14295.218 | 1661.7541 | 1.4529 | 89819.5037 | 149.2579 | 149.2721 | 15335.1077 | -324657.5903 | 149.2035 | 149.1893 | 1.4515 | 1660.9906 | 1661.7541 | 102.7798
25 | 14519.05 | 1660.3941 | 1.4652 | 91225.8816 | 151.4709 | 151.4851 | 15660.746 | -319652.5275 | 151.4133 | 151.3992 | 1.4638 | 1659.6077 | 1660.3941 | 103.4304
26 | 14746.387 | 1658.8421 | 1.4856 | 92654.2821 | 153.6988 | 153.7132 | 15902.5681 | -314724.6189 | 153.6381 | 153.6238 | 1.4842 | 1658.0324 | 1658.8421 | 103.5066
27 | 14977.283 | 1657.5172 | 1.5055 | 94105.0445 | 155.9807 | 155.9953 | 16162.0123 | -309872.6938 | 155.9168 | 155.9023 | 1.504 | 1656.6834 | 1657.5172 | 103.6579
28 | 15211.795 | 1656.0174 | 1.5203 | 95578.5268 | 158.2797 | 158.2943 | 16480.6769 | -305095.5544 | 158.2122 | 158.1976 | 1.5187 | 1655.1588 | 1656.0174 | 104.1682
29 | 15449.979 | 1654.5809 | 1.5441 | 97075.081 | 160.6186 | 160.6334 | 16709.0298 | -300392.0607 | 160.5476 | 160.5327 | 1.5425 | 1653.6968 | 1654.5809 | 104.0753
30 | 15691.893 | 1653.2432 | 1.5497 | 98595.0715 | 163.0016 | 163.0164 | 17146.8118 | -295761.0678 | 162.9266 | 162.9119 | 1.548 | 1652.3327 | 1653.2432 | 105.2426
31 | 15937.594 | 1651.9008 | 1.5796 | 100138.8565 | 165.4195 | 165.4345 | 17324.8272 | -291201.4843 | 165.3406 | 165.3256 | 1.5778 | 1650.9631 | 1651.9008 | 104.7826
32 | 16187.142 | 1650.5918 | 1.5943 | 101706.8128 | 167.8764 | 167.8916 | 17679.0833 | -286712.1959 | 167.7933 | 167.7782 | 1.5924 | 1649.626 | 1650.5918 | 105.3623
33 | 16440.598 | 1649.1234 | 1.6169 | 103299.3238 | 170.3533 | 170.3687 | 17949.8213 | -282292.1057 | 170.2659 | 170.2506 | 1.6149 | 1648.1289 | 1649.1234 | 105.4223
34 | 16698.022 | 1647.8517 | 1.6346 | 104916.7665 | 172.8873 | 172.9027 | 18287.431 | -277940.1673 | 172.7952 | 172.7798 | 1.6326 | 1646.8274 | 1647.8517 | 105.833
35 | 16959.477 | 1646.6128 | 1.6442 | 106559.5367 | 175.4623 | 175.4777 | 18725.7172 | -273655.3155 | 175.3653 | 175.3499 | 1.6421 | 1645.5578 | 1646.6128 | 106.7812
36 | 17225.026 | 1645.3243 | 1.6662 | 108228.0303 | 178.0702 | 178.0858 | 19032.3945 | -269436.5181 | 177.9682 | 177.9526 | 1.664 | 1644.2377 | 1645.3243 | 106.9427
37 | 17494.732 | 1643.9753 | 1.689 | 109922.6431 | 180.7101 | 180.7259 | 19336.1894 | -265282.7736 | 180.6029 | 180.5871 | 1.6867 | 1642.8563 | 1643.9753 | 107.0647
38 | 17768.662 | 1642.8503 | 1.7082 | 111643.796 | 183.414 | 183.43 | 19695.3868 | -261193.0504 | 183.3012 | 183.2854 | 1.7058 | 1641.6976 | 1642.8503 | 107.4482
39 | 18046.881 | 1641.5811 | 1.7261 | 113391.8975 | 186.142 | 186.158 | 20074.8395 | -257166.3784 | 186.0233 | 186.0074 | 1.7236 | 1640.3939 | 1641.5811 | 107.9157
40 | 18329.456 | 1640.3337 | 1.7479 | 115167.3686 | 188.9129 | 188.9291 | 20419.7895 | -253201.7878 | 188.7882 | 188.7721 | 1.7453 | 1639.1109 | 1640.3337 | 108.1624
41 | 18616.456 | 1639.1961 | 1.771 | 116970.6428 | 191.7378 | 191.7542 | 20760.3793 | -249298.3105 | 191.6068 | 191.5905 | 1.7683 | 1637.9365 | 1639.1961 | 108.3489
42 | 18907.949 | 1637.9473 | 1.8024 | 118802.1473 | 194.5917 | 194.6083 | 21009.8325 | -245455.0215 | 194.4542 | 194.4375 | 1.7996 | 1636.6499 | 1637.9473 | 108.0452
43 | 19204.007 | 1636.8385 | 1.8053 | 120662.3346 | 197.5047 | 197.5213 | 21609.3544 | -241670.9715 | 197.3599 | 197.3435 | 1.8024 | 1635.502 | 1636.8385 | 109.4921
44 | 19504.7 | 1635.7313 | 1.8393 | 122551.6445 | 200.4616 | 200.4784 | 21849.4314 | -237945.266 | 200.3097 | 200.2928 | 1.8362 | 1634.3545 | 1635.7313 | 109.0783
45 | 19810.101 | 1634.5917 | 1.8587 | 124470.5355 | 203.4585 | 203.4755 | 22273.5241 | -234276.9998 | 203.2989 | 203.282 | 1.8554 | 1633.1735 | 1634.5917 | 109.5605
46 | 20120.285 | 1633.5423 | 1.8664 | 126419.4791 | 206.5116 | 206.5284 | 22852.2315 | -230665.2728 | 206.3437 | 206.3269 | 1.863 | 1632.0812 | 1633.5423 | 110.7484 | Frequency, Hz
47 | 20435.325 | 1632.4771 | 1.9075 | 128398.9338 | 209.6083 | 209.6257 | 23034.7817 | -227109.2351 | 209.4324 | 209.4151 | 1.904 | 1630.9719 | 1632.4771 | 109.9867
48 | 20755.298 | 1631.3414 | 1.932 | 130409.3834 | 212.7422 | 212.7598 | 23428.6026 | -223608.017 | 212.5575 | 212.54 | 1.9283 | 1629.7909 | 1631.3414 | 110.2224
49 | 21080.281 | 1630.3434 | 1.958 | 132451.3119 | 215.9411 | 215.9589 | 23817.5036 | -220160.7763 | 215.7472 | 215.7295 | 1.9542 | 1628.746 | 1630.3434 | 110.3954
50 | 21410.353 | 1629.286 | 1.9805 | 134525.2154 | 219.1801 | 219.1979 | 24258.7898 | -216766.6749 | 218.9765 | 218.9587 | 1.9765 | 1627.6404 | 1629.286 | 110.7826
51 | 21745.593 | 1628.3277 | 2.0002 | 136631.5904 | 222.481 | 222.499 | 24748.4172 | -213424.9008 | 222.2673 | 222.2493 | 1.996 | 1626.6322 | 1628.3277 | 111.3453
52 | 22086.082 | 1627.3066 | 2.0306 | 138770.9459 | 225.8229 | 225.8411 | 25115.285 | -210134.6463 | 225.5987 | 225.5805 | 2.0263 | 1625.5598 | 1627.3066 | 111.3273
53 | 22431.902 | 1626.3632 | 2.0532 | 140943.7971 | 229.2258 | 229.2442 | 25593.0897 | -206895.1188 | 228.9905 | 228.9721 | 2.0487 | 1624.5634 | 1626.3632 | 111.7649
54 | 22783.137 | 1625.4176 | 2.0895 | 143150.6716 | 232.6796 | 232.6984 | 25913.0745 | -203705.5314 | 232.4329 | 232.4142 | 2.0847 | 1623.5632 | 1625.4176 | 111.4863
55 | 23139.872 | 1624.4254 | 2.104 | 145392.1038 | 236.1786 | 236.1974 | 26514.0175 | -200565.1124 | 235.9195 | 235.9009 | 2.099 | 1622.5149 | 1624.4254 | 112.3858
56 | 23502.192 | 1623.5506 | 2.1349 | 147668.6275 | 239.7475 | 239.7665 | 26925.2171 | -197473.1135 | 239.4757 | 239.4568 | 2.1298 | 1621.5821 | 1623.5506 | 112.434
57 | 23870.186 | 1622.557 | 2.1624 | 149980.802 | 243.3524 | 243.3716 | 27389.116 | -194428.7752 | 243.0674 | 243.0482 | 2.157 | 1620.5288 | 1622.557 | 112.6812
58 | 24243.941 | 1621.7211 | 2.174 | 152329.1739 | 247.0354 | 247.0546 | 28073.817 | -191431.3778 | 246.7361 | 246.7171 | 2.1684 | 1619.6312 | 1621.7211 | 113.7807
59 | 24623.549 | 1620.79 | 2.1923 | 154714.3213 | 250.7594 | 250.7786 | 28684.7442 | -188480.1833 | 250.4454 | 250.4263 | 2.1865 | 1618.6366 | 1620.79 | 114.5349
60 | 25009.101 | 1619.9025 | 2.2201 | 157136.8159 | 254.5463 | 254.5657 | 29187.8514 | -185574.4846 | 254.217 | 254.1977 | 2.214 | 1617.6837 | 1619.9025 | 114.8147
61 | 25400.689 | 1619.0581 | 2.25 | 159597.2359 | 258.3972 | 258.4168 | 29676.9244 | -182713.5882 | 258.0518 | 258.0323 | 2.2437 | 1616.7718 | 1619.0581 | 115.0037
62 | 25798.409 | 1618.2378 | 2.2708 | 162096.1844 | 262.3102 | 262.3298 | 30302.4528 | -179896.7924 | 261.9479 | 261.9283 | 2.2642 | 1615.8818 | 1618.2378 | 115.6812
63 | 26202.356 | 1617.3617 | 2.2903 | 164634.2582 | 266.2732 | 266.2928 | 30959.9841 | -177123.4247 | 265.8931 | 265.8735 | 2.2834 | 1614.9342 | 1617.3617 | 116.4377
64 | 26612.629 | 1616.5828 | 2.3057 | 167212.0795 | 270.3122 | 270.3318 | 31693.2628 | -174392.8053 | 269.9134 | 269.8939 | 2.2985 | 1614.0811 | 1616.5828 | 117.4201
65 | 27029.325 | 1615.7785 | 2.3325 | 169830.2577 | 274.4081 | 274.4279 | 32285.7958 | -171704.2889 | 273.99 | 273.9703 | 2.325 | 1613.2006 | 1615.7785 | 117.8357
66 | 27452.546 | 1615.0322 | 2.3625 | 172489.4337 | 278.576 | 278.596 | 32850.3671 | -169057.2171 | 278.1377 | 278.1177 | 2.3548 | 1612.3754 | 1615.0322 | 118.1083
67 | 27882.393 | 1614.3537 | 2.3768 | 175190.242 | 282.819 | 282.839 | 33655.4492 | -166450.9581 | 282.3592 | 282.3393 | 2.3687 | 1611.6156 | 1614.3537 | 119.1937
68 | 28318.971 | 1613.5985 | 2.3989 | 177933.3425 | 287.113 | 287.133 | 34366.2576 | -163884.8752 | 286.6308 | 286.6109 | 2.3905 | 1610.7768 | 1613.5985 | 119.8973
69 | 28762.385 | 1612.8319 | 2.4149 | 180719.3948 | 291.47 | 291.49 | 35181.725 | -161358.3515 | 290.9644 | 290.9445 | 2.4062 | 1609.924 | 1612.8319 | 120.9142
70 | 29212.742 | 1612.2173 | 2.4353 | 183549.0713 | 295.921 | 295.941 | 35961.3758 | -158870.7773 | 295.3908 | 295.3708 | 2.4262 | 1609.22 | 1612.2173 | 121.7417
71 | 29670.151 | 1611.5546 | 2.4603 | 186423.0568 | 300.4309 | 300.4511 | 36688.3924 | -156421.5507 | 299.8751 | 299.855 | 2.4509 | 1608.4655 | 1611.5546 | 122.3456
72 | 30134.721 | 1610.5438 | 2.2583 | 189342.0362 | 304.9436 | 304.9604 | 41179.878 | -154010.0879 | 304.3577 | 304.3411 | 2.2494 | 1607.3613 | 1610.5438 | 135.3009
73 | 30606.566 | 1609.8955 | 2.2619 | 192306.7258 | 309.5937 | 309.6103 | 42377.0801 | -151635.797 | 308.9794 | 308.963 | 2.2527 | 1606.6155 | 1609.8955 | 137.1518
74 | 31085.798 | 1609.3184 | 2.3009 | 195317.8293 | 314.3286 | 314.3454 | 42943.1194 | -149298.1145 | 313.685 | 313.6682 | 2.2912 | 1605.9375 | 1609.3184 | 136.8989
75 | 31572.535 | 1608.8104 | 2.3273 | 198376.088 | 319.1495 | 319.1665 | 43768.7134 | -146996.4648 | 318.475 | 318.4581 | 2.3172 | 1605.3252 | 1608.8104 | 137.4322
76 | 32066.892 | 1608.3425 | 2.3562 | 201482.2247 | 324.0524 | 324.0696 | 44569.11 | -144730.304 | 323.3456 | 323.3285 | 2.3457 | 1604.7497 | 1608.3425 | 137.8374
77 | 32568.991 | 1607.6141 | 2.3875 | 204637.0057 | 328.9773 | 328.9947 | 45333.5132 | -142499.0731 | 328.2368 | 328.2196 | 2.3765 | 1603.9115 | 1607.6141 | 138.1122
78 | 33078.951 | 1607.1997 | 2.4137 | 207841.1789 | 334.0423 | 334.0597 | 46231.5918 | -140302.2432 | 333.2662 | 333.2489 | 2.4023 | 1603.3824 | 1607.1997 | 138.7227
79 | 33596.896 | 1606.7567 | 2.4502 | 211095.5233 | 339.1791 | 339.1969 | 46953.8775 | -138139.2802 | 338.366 | 338.3484 | 2.4383 | 1602.8214 | 1606.7567 | 138.7665
80 | 34122.95 | 1606.3047 | 2.4837 | 214400.8181 | 344.393 | 344.411 | 47756.4184 | -136009.6659 | 343.541 | 343.5232 | 2.4712 | 1602.2478 | 1606.3047 | 139.0123
81 | 34657.242 | 1605.8235 | 2.5499 | 217757.8737 | 349.6807 | 349.6993 | 47955.8131 | -133912.8783 | 348.7885 | 348.77 | 2.5366 | 1601.6414 | 1605.8235 | 137.4925
82 | 35199.9 | 1605.4145 | 2.5979 | 221167.4945 | 355.0655 | 355.0845 | 48531.6804 | -131848.4152 | 354.1308 | 354.1119 | 2.5839 | 1601.103 | 1605.4145 | 137.0445
83 | 35751.054 | 1604.9211 | 2.656 | 224630.4972 | 360.5142 | 360.5338 | 48937.9068 | -129815.7819 | 359.5353 | 359.5159 | 2.6413 | 1600.4766 | 1604.9211 | 136.1143
84 | 36310.838 | 1604.4471 | 2.7115 | 228147.7238 | 366.051 | 366.071 | 49420.2218 | -127814.4842 | 365.0256 | 365.0057 | 2.696 | 1599.8655 | 1604.4471 | 135.3884
85 | 36879.388 | 1603.9988 | 2.7726 | 231720.0288 | 371.6787 | 371.6993 | 49827.8159 | -125844.0359 | 370.6047 | 370.5842 | 2.7563 | 1599.2757 | 1603.9988 | 134.45
86 | 37456.839 | 1603.5061 | 2.831 | 235348.2605 | 377.3824 | 377.4036 | 50309.9789 | -123903.9693 | 376.2576 | 376.2365 | 2.8138 | 1598.6373 | 1603.5061 | 133.7115
87 | 38043.332 | 1602.9532 | 2.8763 | 239033.3047 | 383.1592 | 383.1808 | 51044.4781 | -121993.8103 | 381.981 | 381.9596 | 2.8583 | 1597.9347 | 1602.9532 | 133.6309
88 | 38639.009 | 1602.4809 | 2.9273 | 242776.0536 | 389.044 | 389.066 | 51708.2343 | -120113.0968 | 387.8098 | 387.788 | 2.9084 | 1597.3075 | 1602.4809 | 133.334
89 | 39244.012 | 1602.0682 | 2.9737 | 246577.3996 | 395.0338 | 395.0562 | 52480.0023 | -118261.3803 | 393.7409 | 393.7187 | 2.9539 | 1596.7348 | 1602.0682 | 133.2856
90 | 39858.489 | 1601.6388 | 3.0181 | 250438.2725 | 401.1116 | 401.1344 | 53312.1592 | -116438.2079 | 399.7572 | 399.7347 | 2.9974 | 1596.1406 | 1601.6388 | 133.3614
91 | 40482.586 | 1601.2233 | 3.0617 | 254359.5896 | 407.2865 | 407.3095 | 54183.1349 | -114643.1463 | 405.8675 | 405.8448 | 3.04 | 1595.5551 | 1601.2233 | 133.4996
92 | 41116.456 | 1600.8384 | 3.1103 | 258342.3122 | 413.5643 | 413.5877 | 54992.7656 | -112875.7554 | 412.0778 | 412.0547 | 3.0877 | 1594.9949 | 1600.8384 | 133.4524
93 | 41760.251 | 1600.4854 | 3.1495 | 262387.3955 | 419.9472 | 419.9708 | 55997.449 | -111135.6114 | 418.3898 | 418.3664 | 3.1259 | 1594.4607 | 1600.4854 | 133.8404
94 | 42414.126 | 1600.1604 | 3.1915 | 266495.8133 | 426.4361 | 426.4599 | 56982.0398 | -109422.2955 | 424.8043 | 424.7807 | 3.1668 | 1593.9489 | 1600.1604 | 134.1371
95 | 43078.24 | 1599.7791 | 3.2362 | 270668.5646 | 433.0099 | 433.0341 | 57941.532 | -107735.391 | 431.3005 | 431.2766 | 3.2103 | 1593.3753 | 1599.7791 | 134.3414
96 | 43752.752 | 1599.4723 | 3.3046 | 274906.6485 | 439.7056 | 439.7304 | 58509.5744 | -106074.494 | 437.915 | 437.8905 | 3.2774 | 1592.8699 | 1599.4723 | 133.6094
97 | 44437.826 | 1599.25 | 3.3621 | 279211.0954 | 446.5283 | 446.5537 | 59307.2703 | -104439.2007 | 444.6524 | 444.6275 | 3.3336 | 1592.4419 | 1599.25 | 133.3789
98 | 45133.626 | 1598.9088 | 3.4006 | 283582.9357 | 453.4232 | 453.4488 | 60461.2814 | -102829.1197 | 451.4579 | 451.4328 | 3.3708 | 1591.8898 | 1598.9088 | 133.9245
99 | 45840.321 | 1598.6937 | 3.4703 | 288023.2314 | 460.4609 | 460.4871 | 61101.1267 | -101243.8597 | 458.4021 | 458.3763 | 3.4389 | 1591.4561 | 1598.6937 | 133.2915
100 | 46558.081 | 1600.0072 | 3.4915 | 292533.0505 | 468.055 | 468.081 | 62748.1742 | -99683.0395 | 465.8933 | 465.8676 | 3.459 | 1592.53 | 1600.0072 | 134.6836
101 | 47287.08 | 1599.7782 | 3.5573 | 297113.4863 | 475.3157 | 475.3423 | 63513.5257 | -98146.2807 | 473.0512 | 473.025 | 3.5231 | 1592.0684 | 1599.7782 | 134.2635
102 | 48027.494 | 1599.554 | 3.6176 | 301765.6446 | 482.6904 | 482.7176 | 64408.8515 | -96633.2124 | 480.3182 | 480.2915 | 3.5817 | 1591.6043 | 1599.554 | 134.0962
103 | 48779.501 | 1599.3446 | 3.6848 | 306490.644 | 490.1842 | 490.2119 | 65211.3792 | -95143.4708 | 487.6991 | 487.6718 | 3.6472 | 1591.1474 | 1599.3446 | 133.7123
104 | 49543.282 | 1599.1535 | 3.7482 | 311289.6215 | 497.7999 | 497.8281 | 66117.0855 | -93676.6973 | 495.1965 | 495.1687 | 3.7087 | 1590.701 | 1599.1535 | 133.5169
105 | 50319.023 | 1599.6227 | 3.9342 | 316163.746 | 505.7427 | 505.7733 | 65017.0319 | -92232.5346 | 503.0149 | 502.9848 | 3.8914 | 1590.8998 | 1599.6227 | 129.2547
106 | 51106.91 | 1599.4508 | 4.0106 | 321114.186 | 513.6063 | 513.6377 | 65777.0942 | -90810.6365 | 510.7488 | 510.718 | 3.9656 | 1590.4561 | 1599.4508 | 128.7856
107 | 51907.134 | 1599.3028 | 4.0803 | 326142.1417 | 521.6 | 521.632 | 66681.6156 | -89410.6584 | 518.6064 | 518.575 | 4.0331 | 1590.0275 | 1599.3028 | 128.5785
108 | 52719.888 | 1599.1777 | 4.1522 | 331248.8257 | 529.7257 | 529.7583 | 67584.7064 | -88032.2627 | 526.5894 | 526.5574 | 4.1027 | 1589.6129 | 1599.1777 | 128.3442
109 | 53545.367 | 1599.0716 | 4.2263 | 336435.4632 | 537.9844 | 538.0176 | 68485.9003 | -86675.1185 | 534.6986 | 534.666 | 4.1744 | 1589.2082 | 1599.0716 | 128.0832
110 | 54383.772 | 1598.2959 | 4.1789 | 341703.3172 | 546.143 | 546.175 | 71379.8152 | -85338.8954 | 542.7017 | 542.6703 | 4.1259 | 1588.1329 | 1598.2959 | 131.5268
111 | 55235.304 | 1598.2157 | 4.2645 | 347053.6505 | 554.6666 | 554.6994 | 72148.2587 | -84023.273 | 551.0614 | 551.0293 | 4.2087 | 1587.7352 | 1598.2157 | 130.926
112 | 56100.17 | 1598.1526 | 4.3448 | 352487.7639 | 563.3292 | 563.3628 | 73042.9242 | -82727.9316 | 559.5523 | 559.5195 | 4.2863 | 1587.3444 | 1598.1526 | 130.5382
113 | 56978.577 | 1598.0887 | 4.4257 | 358006.9578 | 572.1269 | 572.1611 | 73966.0726 | -81452.5612 | 568.17 | 568.1365 | 4.3641 | 1586.9426 | 1598.0887 | 130.183
114 | 57870.739 | 1598.0594 | 4.5101 | 363612.577 | 581.0745 | 581.1095 | 74869.4702 | -80196.8509 | 576.9291 | 576.8948 | 4.4454 | 1586.5645 | 1598.0594 | 129.7724
115 | 58776.869 | 1598.0303 | 4.5961 | 369305.9597 | 590.1621 | 590.1979 | 75784.7713 | -78960.5011 | 585.8191 | 585.7841 | 4.5281 | 1586.1757 | 1598.0303 | 129.3655
116 | 59697.188 | 1598.0541 | 4.6807 | 375088.4945 | 599.4117 | 599.4483 | 76766.1112 | -77743.2101 | 594.8615 | 594.8258 | 4.6093 | 1585.8279 | 1598.0541 | 129.0487
117 | 60631.917 | 1598.7346 | 4.8793 | 380961.57 | 609.0565 | 609.0955 | 76030.1906 | -76544.6857 | 604.287 | 604.2488 | 4.8026 | 1586.1149 | 1598.7346 | 125.818
118 | 61581.282 | 1598.7527 | 4.9795 | 386926.6063 | 618.6 | 618.64 | 76853.2044 | -75364.6381 | 613.6032 | 613.5641 | 4.8988 | 1585.7377 | 1598.7527 | 125.249
119 | 62545.512 | 1598.8231 | 5.0687 | 392985.042 | 628.3136 | 628.3544 | 77891.1224 | -74202.7826 | 623.0782 | 623.0383 | 4.9839 | 1585.3995 | 1598.8231 | 125.0102
120 | 63524.839 | 1598.9019 | 5.1728 | 399138.335 | 638.183 | 638.225 | 78739.8709 | -73058.8397 | 632.6979 | 632.657 | 5.0836 | 1585.057 | 1598.9019 | 124.451
121 | 64519.501 | 1598.9906 | 5.2688 | 405387.9807 | 648.2116 | 648.2544 | 79753.9704 | -71932.5314 | 642.4645 | 642.4228 | 5.1751 | 1584.7111 | 1598.9906 | 124.1375
122 | 65529.737 | 1598.4266 | 5.2667 | 411735.4807 | 658.1289 | 658.1711 | 82245.6265 | -70823.587 | 652.1109 | 652.0699 | 5.1701 | 1583.7108 | 1598.4266 | 126.1221
123 | 66555.791 | 1598.562 | 5.3694 | 418182.3681 | 668.4904 | 668.5336 | 83231.9166 | -69731.7387 | 662.1851 | 662.1431 | 5.2679 | 1583.3837 | 1598.562 | 125.6928
124 | 67597.911 | 1598.7087 | 5.4801 | 424730.2012 | 679.0199 | 679.0641 | 84140.7073 | -68656.7227 | 672.4135 | 672.3705 | 5.3733 | 1583.0532 | 1598.7087 | 125.1324
125 | 68656.348 | 1598.9002 | 5.5786 | 431380.557 | 689.7344 | 689.7796 | 85283.979 | -67598.2799 | 682.8121 | 682.7683 | 5.4665 | 1582.7517 | 1598.9002 | 124.9011
126 | 69731.359 | 1599.0774 | 5.6947 | 438135.0503 | 700.6119 | 700.6581 | 86201.1391 | -66556.1534 | 693.3589 | 693.3141 | 5.5767 | 1582.4209 | 1599.0774 | 124.324
127 | 70823.201 | 1599.305 | 5.8195 | 444995.2959 | 711.6832 | 711.7308 | 87040.0465 | -65530.0941 | 704.0837 | 704.0376 | 5.6951 | 1582.1236 | 1599.305 | 123.6217
128 | 71932.139 | 1599.544 | 5.9342 | 451962.9589 | 722.9346 | 722.9834 | 88077.7474 | -64519.8529 | 714.9717 | 714.9246 | 5.8034 | 1581.8211 | 1599.544 | 123.1905
129 | 73058.441 | 1599.8006 | 6.0588 | 459039.7231 | 734.372 | 734.422 | 89016.9789 | -63525.1857 | 726.0283 | 725.98 | 5.9211 | 1581.5189 | 1599.8006 | 122.6081
130 | 74202.378 | 1600.0785 | 6.1977 | 466227.2912 | 746.0003 | 746.0517 | 89799.649 | -62545.853 | 737.2577 | 737.208 | 6.0525 | 1581.2202 | 1600.0785 | 121.8023
131 | 75364.227 | 1601.141 | 6.3837 | 473527.4038 | 758.1841 | 758.2379 | 90055.5629 | -61581.6179 | 749.0154 | 748.9636 | 6.2293 | 1581.669 | 1601.141 | 120.2319
132 | 76544.268 | 1601.475 | 6.5347 | 480941.82 | 770.2163 | 770.2717 | 90788.4382 | -60632.2478 | 760.6089 | 760.5556 | 6.3718 | 1581.3879 | 1601.475 | 119.3628
133 | 77742.786 | 1601.8381 | 6.6699 | 488472.3307 | 782.4536 | 782.5104 | 91796.5993 | -59697.5137 | 772.3861 | 772.3314 | 6.4985 | 1581.1159 | 1601.8381 | 118.8481
134 | 78960.07 | 1602.2203 | 6.8232 | 496120.7517 | 794.8947 | 794.9533 | 92611.5281 | -58777.1899 | 784.3451 | 784.2889 | 6.6423 | 1580.8427 | 1602.2203 | 118.075
135 | 80196.414 | 1602.6089 | 6.9754 | 503888.9301 | 807.5369 | 807.5971 | 93495.1629 | -57871.0543 | 796.4821 | 796.4243 | 6.7847 | 1580.5553 | 1602.6089 | 117.3851
136 | 81452.117 | 1603.0541 | 7.1281 | 511778.7448 | 820.409 | 820.471 | 94432.1831 | -56978.8877 | 808.8243 | 808.7649 | 6.9272 | 1580.3019 | 1603.0541 | 116.7524
137 | 82727.481 | 1603.5202 | 7.2884 | 519792.0931 | 833.4971 | 833.5609 | 95325.9529 | -56100.4756 | 821.3569 | 821.2959 | 7.0765 | 1580.0469 | 1603.5202 | 116.0591
138 | 84022.815 | 1604.0021 | 7.4431 | 527930.9167 | 846.8023 | 846.8677 | 96347.689 | -55235.6051 | 834.0797 | 834.0172 | 7.2201 | 1579.7847 | 1604.0021 | 115.5138
139 | 85338.431 | 1603.7556 | 7.509 | 536197.1758 | 859.9292 | 859.9948 | 98486.5466 | -54384.0679 | 846.6071 | 846.5445 | 7.277 | 1578.7933 | 1603.7556 | 116.3309
140 | 86674.646 | 1604.2996 | 7.6963 | 544592.8623 | 873.6901 | 873.7579 | 99190.3013 | -53545.6589 | 859.7288 | 859.6643 | 7.4511 | 1578.5449 | 1604.2996 | 115.3739
141 | 88031.784 | 1604.8653 | 7.8691 | 553120.0118 | 887.6831 | 887.7529 | 100144.0459 | -52720.1747 | 873.0516 | 872.9852 | 7.6106 | 1578.2927 | 1604.8653 | 114.7058
142 | 89410.171 | 1605.463 | 8.052 | 561780.6727 | 901.9181 | 901.9899 | 101033.908 | -51907.417 | 886.5839 | 886.5156 | 7.7793 | 1578.0457 | 1605.463 | 113.9587
143 | 90810.141 | 1606.1091 | 8.2517 | 570576.9437 | 916.4088 | 916.4832 | 101781.7358 | -51107.1889 | 900.3378 | 900.2673 | 7.9636 | 1577.8193 | 1606.1091 | 113.0484
144 | 92232.032 | 1606.7771 | 8.4218 | 579510.9483 | 931.1449 | 931.2211 | 102959.4427 | -50319.2972 | 914.3008 | 914.2287 | 8.1185 | 1577.5866 | 1606.7771 | 112.61
145 | 93676.186 | 1607.4872 | 8.6367 | 588584.8355 | 946.1426 | 946.2214 | 103657.721 | -49543.5524 | 928.4884 | 928.4139 | 8.316 | 1577.3664 | 1607.4872 | 111.6414
146 | 95142.953 | 1608.2087 | 8.8279 | 597800.8044 | 961.3885 | 961.4695 | 104707.4664 | -48779.7665 | 942.8849 | 942.8084 | 8.4899 | 1577.1281 | 1608.2087 | 111.0501
147 | 96632.686 | 1608.9589 | 9.0351 | 607161.0729 | 976.8972 | 976.9808 | 105633.6658 | -48027.7556 | 957.5032 | 957.4246 | 8.6785 | 1576.8873 | 1608.9589 | 110.322
148 | 98145.745 | 1609.7964 | 9.2662 | 616667.9029 | 992.7098 | 992.7962 | 106360.1027 | -47287.3381 | 972.3811 | 972.2999 | 8.8891 | 1576.6993 | 1609.7964 | 109.3811
149 | 99682.495 | 1610.6457 | 9.4885 | 626323.588 | 1008.7854 | 1008.8746 | 107260.2588 | -46558.3353 | 987.4769 | 987.3933 | 9.0903 | 1576.4906 | 1610.6457 | 108.6205
150 | 101243.308 | 1612.2217 | 9.7843 | 636130.4653 | 1025.5833 | 1025.6767 | 107510.3581 | -45840.5708 | 1003.2295 | 1003.1422 | 9.3608 | 1576.9441 | 1612.2217 | 107.1643
151 | 102828.559 | 1613.1502 | 10.0415 | 646090.8911 | 1042.2416 | 1042.3384 | 108187.9382 | -45133.8721 | 1018.8096 | 1018.7193 | 9.5933 | 1576.743 | 1613.1502 | 106.1905
152 | 104438.633 | 1614.1089 | 10.2898 | 656207.2844 | 1059.19 | 1059.29 | 109038.6922 | -44438.0676 | 1034.6271 | 1034.534 | 9.8163 | 1576.5353 | 1614.1089 | 105.3894
153 | 106073.916 | 1615.135 | 10.529 | 666482.0705 | 1076.4585 | 1076.5615 | 110065.0661 | -43752.9904 | 1050.7084 | 1050.6126 | 10.0294 | 1576.3554 | 1615.135 | 104.7532
154 | 107734.804 | 1616.1886 | 10.7944 | 676917.7376 | 1094.0267 | 1094.1333 | 110891.8866 | -43078.4747 | 1067.0321 | 1066.9333 | 10.2663 | 1576.164 | 1616.1886 | 103.9255
155 | 109421.698 | 1617.2915 | 11.0485 | 687516.8052 | 1111.9151 | 1112.0249 | 111913.2905 | -42414.3576 | 1083.6146 | 1083.513 | 10.4913 | 1575.9803 | 1617.2915 | 103.2778
156 | 111135.006 | 1617.7474 | 11.2838 | 698281.8368 | 1129.6436 | 1129.7564 | 113101.7271 | -41760.4785 | 1099.9978 | 1099.8938 | 10.6973 | 1575.1431 | 1617.7474 | 102.82
157 | 112875.14 | 1618.9462 | 11.5792 | 709215.4212 | 1148.1816 | 1148.2984 | 113863.6569 | -41116.6802 | 1117.1002 | 1116.9927 | 10.9587 | 1574.9696 | 1618.9462 | 101.9279
158 | 114642.521 | 1620.1957 | 11.8674 | 720320.2035 | 1167.0597 | 1167.1803 | 114782.3593 | -40482.8068 | 1134.4718 | 1134.361 | 11.2117 | 1574.801 | 1620.1957 | 101.1769
159 | 116437.575 | 1621.4726 | 12.1745 | 731598.8604 | 1186.2675 | 1186.3925 | 115600.162 | -39858.7057 | 1152.1003 | 1151.9858 | 11.481 | 1574.614 | 1621.4726 | 100.3386
160 | 118260.736 | 1622.8498 | 12.502 | 743054.1189 | 1205.8652 | 1205.9948 | 116323.1265 | -39244.2258 | 1170.0389 | 1169.9206 | 11.7677 | 1574.4756 | 1622.8498 | 99.4182
161 | 120112.443 | 1624.2496 | 12.8306 | 754688.7371 | 1225.8029 | 1225.9372 | 117122.6608 | -38639.2193 | 1188.237 | 1188.1147 | 12.0537 | 1574.3109 | 1624.2496 | 98.5684
162 | 121993.145 | 1625.7161 | 13.1716 | 766505.5362 | 1246.1204 | 1246.2596 | 117904.1562 | -38043.5395 | 1206.7287 | 1206.6023 | 12.3494 | 1574.1599 | 1625.7161 | 97.7056
163 | 123903.294 | 1627.2264 | 13.5318 | 778507.3564 | 1266.8077 | 1266.9523 | 118608.2638 | -37457.0431 | 1225.5008 | 1225.3699 | 12.6609 | 1573.9992 | 1627.2264 | 96.7835
164 | 125843.352 | 1628.8096 | 13.8987 | 790697.1003 | 1287.895 | 1288.045 | 119354.1605 | -36879.5884 | 1244.5773 | 1244.442 | 12.9765 | 1573.8542 | 1628.8096 | 95.8994
165 | 127813.787 | 1630.4426 | 14.2859 | 803077.7085 | 1309.3721 | 1309.5279 | 120024.7111 | -36311.0361 | 1263.9448 | 1263.8046 | 13.3088 | 1573.7016 | 1630.4426 | 94.9604
166 | 129815.074 | 1632.1286 | 14.664 | 815652.1656 | 1331.2492 | 1331.4108 | 120870.1198 | -35751.249 | 1283.608 | 1283.4632 | 13.63 | 1573.5424 | 1632.1286 | 94.1644
167 | 131847.698 | 1633.9298 | 15.092 | 828423.5189 | 1353.5859 | 1353.7541 | 121417.008 | -35200.0915 | 1303.6185 | 1303.4682 | 13.995 | 1573.4322 | 1633.9298 | 93.1385
168 | 133912.148 | 1635.7631 | 15.5112 | 841394.8408 | 1376.3226 | 1376.4974 | 122137.4527 | -34657.431 | 1323.9152 | 1323.7596 | 14.349 | 1573.2918 | 1635.7631 | 92.2547
169 | 136008.923 | 1637.6895 | 15.951 | 854569.2666 | 1399.5191 | 1399.7009 | 122807.7826 | -34123.1364 | 1344.5487 | 1344.3876 | 14.7189 | 1573.1756 | 1637.6895 | 91.3375
170 | 138138.529 | 1639.686 | 16.4093 | 867949.9758 | 1423.1654 | 1423.3546 | 123446.2578 | -33597.0787 | 1365.5044 | 1365.3374 | 15.1027 | 1573.06 | 1639.686 | 90.4034
171 | 140301.48 | 1641.7533 | 16.8868 | 881540.1977 | 1447.2715 | 1447.4685 | 124053.9625 | -33079.1309 | 1386.7859 | 1386.6126 | 15.5008 | 1572.9431 | 1641.7533 | 89.4543
172 | 142498.298 | 1643.8808 | 17.3662 | 895343.2123 | 1471.8376 | 1472.0425 | 124760.2165 | -32569.1682 | 1408.387 | 1408.2075 | 15.8969 | 1572.8131 | 1643.8808 | 88.5838
173 | 144729.513 | 1646.1021 | 17.8736 | 909362.3496 | 1496.9033 | 1497.1167 | 125382.8283 | -32067.0673 | 1430.3384 | 1430.1523 | 16.3148 | 1572.698 | 1646.1021 | 87.6596
174 | 146995.665 | 1648.3943 | 18.4126 | 923601.0025 | 1522.4587 | 1522.6813 | 125904.1152 | -31572.7068 | 1452.6245 | 1452.4312 | 16.7575 | 1572.5743 | 1648.3943 | 86.6735
175 | 149297.299 | 1651.5357 | 18.9664 | 938062.5955 | 1549.2439 | 1549.4761 | 126566.8751 | -31085.9678 | 1475.9096 | 1475.7089 | 17.2084 | 1573.1455 | 1651.5357 | 85.7552
176 | 151634.973 | 1654.0088 | 19.6113 | 952750.6344 | 1575.858 | 1576.102 | 126647.0311 | -30606.7323 | 1498.915 | 1498.7051 | 17.7377 | 1573.0297 | 1654.0088 | 84.4925
177 | 154009.249 | 1656.6134 | 20.1876 | 967668.6505 | 1603.0529 | 1603.3071 | 127315.1427 | -30134.8851 | 1522.3134 | 1522.0958 | 18.1998 | 1572.9514 | 1656.6134 | 83.6327
178 | 156420.701 | 1659.3037 | 20.8046 | 982820.2503 | 1630.7973 | 1631.0627 | 127853.2496 | -29670.3122 | 1546.0707 | 1545.8447 | 18.6932 | 1572.8661 | 1659.3037 | 82.6956
179 | 158869.911 | 1662.088 | 21.4525 | 998209.0905 | 1659.1113 | 1659.3887 | 128335.139 | -29212.9013 | 1570.1964 | 1569.9614 | 19.2087 | 1572.7781 | 1662.088 | 81.7319
180 | 161357.47 | 1664.9931 | 22.1418 | 1013838.8847 | 1688.0348 | 1688.3252 | 128713.7225 | -28762.5421 | 1594.7173 | 1594.4726 | 19.7549 | 1572.708 | 1664.9931 | 80.7126
181 | 163883.98 | 1667.9869 | 22.8167 | 1029713.4152 | 1717.5485 | 1717.8516 | 129312.6461 | -28319.1257 | 1619.6055 | 1619.3515 | 20.2819 | 1572.6235 | 1667.9869 | 79.8421
182 | 166450.049 | 1670.3397 | 23.475 | 1045836.5023 | 1746.9023 | 1747.2177 | 130019.7129 | -27882.5453 | 1644.1872 | 1643.9243 | 20.7885 | 1571.8751 | 1670.3397 | 79.0784
183 | 169056.297 | 1673.569 | 24.2114 | 1062212.0414 | 1777.6851 | 1778.0149 | 130547.8027 | -27452.6954 | 1669.8637 | 1669.5905 | 21.3561 | 1571.8053 | 1673.569 | 78.1787
184 | 171703.353 | 1676.9222 | 24.9904 | 1078843.9848 | 1809.1374 | 1809.4826 | 130994.596 | -27029.4723 | 1695.9477 | 1695.6635 | 21.9532 | 1571.7412 | 1676.9222 | 77.2398
185 | 174391.857 | 1680.4033 | 25.8168 | 1095736.3536 | 1841.279 | 1841.641 | 131347.3706 | -26612.7737 | 1722.4454 | 1722.1492 | 22.5837 | 1571.6821 | 1680.4033 | 76.2563
186 | 177122.457 | 1684.0075 | 26.6503 | 1112893.2194 | 1874.1205 | 1874.4995 | 131819.8986 | -26202.4991 | 1749.3526 | 1749.0446 | 23.2112 | 1571.6194 | 1684.0075 | 75.3535
187 | 179895.812 | 1687.7285 | 27.5503 | 1130318.7228 | 1907.6711 | 1908.0689 | 132120.7376 | -25798.5496 | 1776.6662 | 1776.3449 | 23.887 | 1571.5434 | 1687.7285 | 74.3644
188 | 182712.591 | 1691.631 | 28.4769 | 1148017.0672 | 1942.0212 | 1942.4388 | 132467.0507 | -25400.8276 | 1804.4499 | 1804.1151 | 24.5754 | 1571.5055 | 1691.631 | 73.4113
189 | 185573.476 | 1695.6634 | 29.4336 | 1165992.5378 | 1977.1309 | 1977.5691 | 132838.5436 | -25009.2369 | 1832.6546 | 1832.3059 | 25.2787 | 1571.4559 | 1695.6634 | 72.4842
190 | 188479.155 | 1699.8359 | 30.4459 | 1184249.4574 | 2013.0298 | 2013.4903 | 133128.3303 | -24623.6833 | 1861.2916 | 1860.9278 | 26.018 | 1571.3985 | 1699.8359 | 71.5247
191 | 191430.332 | 1704.2074 | 31.5318 | 1202792.2494 | 2049.8075 | 2050.2925 | 133284.7437 | -24244.0734 | 1890.4218 | 1890.0416 | 26.8071 | 1571.3783 | 1704.2074 | 70.5053
192 | 194427.717 | 1708.7117 | 32.5948 | 1221625.3748 | 2087.4055 | 2087.9145 | 133712.2371 | -23870.3159 | 1919.976 | 1919.5802 | 27.5633 | 1571.3329 | 1708.7117 | 69.6427
193 | 197472.035 | 1713.4039 | 33.7788 | 1240753.3889 | 2125.9117 | 2126.4484 | 133830.8971 | -23502.3204 | 1950.0145 | 1949.6006 | 28.4071 | 1571.3039 | 1713.4039 | 68.6307
194 | 200564.021 | 1718.9975 | 34.9642 | 1260180.9099 | 2166.2478 | 2166.8122 | 134247.2306 | -23139.9979 | 1981.286 | 1980.8546 | 29.2344 | 1571.8811 | 1718.9975 | 67.7576
195 | 203704.42 | 1724.0569 | 36.2557 | 1279912.6188 | 2206.6422 | 2207.2379 | 134339.7811 | -22783.2613 | 2012.2878 | 2011.8364 | 30.1355 | 1571.8545 | 1724.0569 | 66.7597
196 | 206893.991 | 1729.3596 | 37.5371 | 1299953.2844 | 2248.0866 | 2248.7134 | 134674.6977 | -22432.0243 | 2043.8284 | 2043.3578 | 31.0101 | 1571.8702 | 1729.3596 | 65.8933
197 | 210133.504 | 1734.7844 | 38.9243 | 1320307.7449 | 2290.4493 | 2291.1108 | 134817.5251 | -22086.2021 | 2075.7799 | 2075.2879 | 31.9531 | 1571.8213 | 1734.7844 | 64.9479
198 | 213423.74 | 1740.4879 | 40.3605 | 1340980.9074 | 2333.9611 | 2334.659 | 135008.3535 | -21745.7113 | 2108.3073 | 2107.7933 | 32.9156 | 1571.8295 | 1740.4879 | 64.0364
199 | 216765.495 | 1746.3663 | 41.8368 | 1361977.7733 | 2378.5121 | 2379.248 | 135265.2685 | -21410.4695 | 2141.2956 | 2140.7591 | 33.8889 | 1571.8018 | 1746.3663 | 63.1698
200 | 220159.574 | 1751.7932 | 43.3939 | 1383303.4006 | 2423.2615 | 2424.0386 | 135366.3479 | -21080.3961 | 2174.0448 | 2173.4841 | 34.9071 | 1571.2274 | 1751.7932 | 62.2647
201 | 223606.798 | 1758.1668 | 45.0532 | 1404962.9478 | 2470.1592 | 2470.9809 | 135478.1134 | -20755.4112 | 2208.1012 | 2207.5148 | 35.9794 | 1571.2263 | 1758.1668 | 61.355
202 | 227107.997 | 1764.8022 | 46.8062 | 1426961.6299 | 2518.3051 | 2519.175 | 135538.5791 | -20435.4364 | 2242.7058 | 2242.092 | 37.0991 | 1571.2349 | 1764.8022 | 60.4353
203 | 230664.018 | 1771.7184 | 48.6131 | 1449304.7688 | 2567.7599 | 2568.6802 | 135678.55 | -20120.3945 | 2277.8743 | 2277.2324 | 38.2319 | 1571.2585 | 1771.7184 | 59.5637
204 | 234275.718 | 1778.9301 | 50.5994 | 1471997.7492 | 2618.5812 | 2619.5589 | 135565.4867 | -19810.2094 | 2313.6222 | 2312.9486 | 39.4738 | 1571.299 | 1778.9301 | 58.5945
205 | 237943.969 | 1786.4087 | 52.5357 | 1495046.05 | 2670.7633 | 2671.7968 | 135826.549 | -19504.8063 | 2349.9035 | 2349.2004 | 40.643 | 1571.3231 | 1786.4087 | 57.8009
206 | 241669.658 | 1794.2384 | 54.7148 | 1518455.2443 | 2724.4706 | 2725.5695 | 135717.1993 | -19204.1114 | 2386.8172 | 2386.0792 | 41.9633 | 1571.3859 | 1794.2384 | 56.8612
207 | 245453.683 | 1802.3999 | 56.9357 | 1542230.9746 | 2779.717 | 2780.8832 | 135768.3585 | -18908.0521 | 2424.3276 | 2423.5548 | 43.2758 | 1571.4603 | 1802.3999 | 56.0025
208 | 249296.957 | 1810.8581 | 59.307 | 1566378.9773 | 2836.4901 | 2837.7301 | 135720.7131 | -18616.5571 | 2462.3873 | 2461.577 | 44.6605 | 1571.5079 | 1810.8581 | 55.1175
209 | 253200.409 | 1819.6748 | 61.828 | 1590905.0896 | 2894.9298 | 2896.2503 | 135609.0687 | -18329.5558 | 2501.0585 | 2500.208 | 46.1117 | 1571.5633 | 1819.6748 | 54.2207
210 | 257164.98 | 1828.9143 | 64.436 | 1615815.2239 | 2955.1876 | 2956.5926 | 135596.3798 | -18046.9791 | 2540.4043 | 2539.513 | 47.5779 | 1571.6605 | 1828.9143 | 53.3759
211 | 261191.628 | 1838.4333 | 67.2238 | 1641115.3994 | 3017.0812 | 3018.579 | 135477.2995 | -17768.7588 | 2580.2439 | 2579.3083 | 49.1244 | 1571.68 | 1838.4333 | 52.5056
212 | 265281.325 | 1848.4688 | 70.2362 | 1666811.7235 | 3081.0495 | 3082.6507 | 135226.5007 | -17494.8275 | 2620.848 | 2619.8639 | 50.776 | 1571.7815 | 1848.4688 | 51.5965
213 | 269435.057 | 1858.9437 | 73.3559 | 1692910.3914 | 3147.0252 | 3148.7351 | 135083.177 | -17225.1194 | 2662.1049 | 2661.0714 | 52.4421 | 1571.8915 | 1858.9437 | 50.743
214 | 273653.828 | 1869.8524 | 76.6092 | 1719417.7113 | 3215.0574 | 3216.8829 | 135002.886 | -16959.5692 | 2703.9911 | 2702.9068 | 54.1369 | 1571.9896 | 1869.8524 | 49.9273
215 | 277938.655 | 1881.2339 | 80.0781 | 1746340.0734 | 3285.2742 | 3287.2261 | 134861.3436 | -16698.1129 | 2746.537 | 2745.3983 | 55.9118 | 1572.0869 | 1881.2339 | 49.1023
216 | 282290.574 | 1893.1684 | 83.8828 | 1773683.9869 | 3357.8824 | 3359.9779 | 134502.112 | -16440.6872 | 2789.8227 | 2788.623 | 57.8412 | 1572.2209 | 1893.1684 | 48.2117
217 | 286710.635 | 1905.6445 | 87.904 | 1801456.0492 | 3432.9347 | 3435.1856 | 134155.0574 | -16187.2301 | 2833.8071 | 2832.5432 | 59.8329 | 1572.3632 | 1905.6445 | 47.3409
218 | 291199.904 | 1918.6601 | 92.128 | 1829662.9583 | 3510.5013 | 3512.9191 | 133858.3443 | -15937.6805 | 2878.4605 | 2877.1301 | 61.8692 | 1572.4918 | 1918.6601 | 46.5035
219 | 295759.465 | 1933.1677 | 96.3612 | 1858311.5249 | 3592.4279 | 3595.0126 | 134025.1678 | -15691.978 | 2924.9176 | 2923.5252 | 63.802 | 1573.2159 | 1933.1677 | 45.8219
220 | 300390.419 | 1947.4326 | 101.4169 | 1887408.6671 | 3675.6011 | 3678.3994 | 133314.3321 | -15450.0634 | 2971.044 | 2969.5691 | 66.1798 | 1573.3578 | 1947.4326 | 44.8712
221 | 305093.884 | 1962.4148 | 106.4782 | 1916961.4093 | 3761.8734 | 3764.8872 | 133013.3655 | -15211.8783 | 3017.954 | 3016.4012 | 68.4394 | 1573.5326 | 1962.4148 | 44.074
222 | 309870.996 | 1978.0688 | 111.9143 | 1946976.8892 | 3851.2543 | 3854.5064 | 132643.3267 | -14977.3651 | 3065.5663 | 3063.9297 | 70.8115 | 1573.6857 | 1978.0688 | 43.2688
223 | 314722.906 | 1994.5045 | 117.925 | 1977462.3388 | 3944.0574 | 3947.5833 | 132028.7872 | -14746.4673 | 3113.9805 | 3112.2492 | 73.4043 | 1573.8602 | 1994.5045 | 42.3987
224 | 319650.787 | 2011.7851 | 124.2608 | 2008425.1283 | 4040.5197 | 4044.3412 | 131507.6177 | -14519.1291 | 3163.2185 | 3161.3894 | 76.0425 | 1574.0638 | 2011.7851 | 41.574
225 | 324655.827 | 2029.9048 | 131.0253 | 2039872.7221 | 4140.7475 | 4144.8935 | 130989.6772 | -14295.2956 | 3213.2251 | 3211.2927 | 78.7742 | 1574.2613 | 2029.9048 | 40.7658
226 | 329739.236 | 2048.9588 | 138.2642 | 2071812.7228 | 4245.0589 | 4249.5623 | 130472.2267 | -14074.9129 | 3264.0618 | 3262.0202 | 81.6069 | 1574.4764 | 2048.9588 | 39.9724
227 | 334902.24 | 2068.0459 | 146.0028 | 2104252.8337 | 4351.6914 | 4356.5899 | 129850.4476 | -13857.9277 | 3314.5708 | 3312.4125 | 84.5529 | 1574.1514 | 2068.0459 | 39.1756
228 | 340146.086 | 2089.1157 | 154.7226 | 2137200.8898 | 4464.86 | 4470.2216 | 128998.0268 | -13644.2876 | 3367.0793 | 3364.7869 | 87.827 | 1574.3896 | 2089.1157 | 38.3115
229 | 345472.038 | 2111.3074 | 163.6037 | 2170664.8332 | 4582.9407 | 4588.7811 | 128543.0137 | -13433.9412 | 3420.4275 | 3418.0074 | 90.9505 | 1574.6362 | 2111.3074 | 37.581
230 | 350881.384 | 2134.7242 | 173.4285 | 2204652.7565 | 4706.3257 | 4712.7165 | 127888.8569 | -13226.8374 | 3474.687 | 3472.1239 | 94.3362 | 1574.9074 | 2134.7242 | 36.8059
231 | 356375.428 | 2159.447 | 184.1421 | 2239172.853 | 4835.375 | 4842.3875 | 127155.9272 | -13022.9266 | 3529.86 | 3527.1419 | 97.9138 | 1575.1986 | 2159.447 | 36.0229
232 | 361955.498 | 2185.575 | 195.7262 | 2274233.4669 | 4970.5079 | 4978.2151 | 126422.8055 | -12822.1592 | 3585.962 | 3583.0792 | 101.6335 | 1575.5107 | 2185.575 | 35.2549
233 | 367622.939 | 2213.1779 | 208.4061 | 2309843.0489 | 5112.0937 | 5120.5898 | 125605.4033 | -12624.487 | 3642.9721 | 3639.9102 | 105.5694 | 1575.8258 | 2213.1779 | 34.4788
234 | 373379.12 | 2242.3922 | 222.0696 | 2346010.2008 | 5260.675 | 5270.0492 | 124843.7925 | -12429.8623 | 3700.9217 | 3697.6722 | 109.6153 | 1576.1535 | 2242.3922 | 33.7332
235 | 379225.43 | 2273.388 | 237.1606 | 2382743.6499 | 5416.9009 | 5427.2841 | 123962.6697 | -12238.2379 | 3759.8886 | 3756.4328 | 113.9357 | 1576.5157 | 2273.388 | 32.9698
236 | 385163.281 | 2306.2252 | 253.5085 | 2420052.268 | 5581.1855 | 5592.7004 | 123127.631 | -12049.5677 | 3819.7822 | 3816.1095 | 118.387 | 1576.8707 | 2306.2252 | 32.2342
237 | 391194.106 | 2341.1535 | 271.543 | 2457945.0591 | 5754.4267 | 5767.2404 | 122216.9722 | -11863.8061 | 3880.7352 | 3876.8264 | 123.1002 | 1577.2632 | 2341.1535 | 31.4933
238 | 397319.36 | 2378.3093 | 291.3581 | 2496431.165 | 5937.2854 | 5951.5832 | 121281.1516 | -11680.9083 | 3942.7155 | 3938.5531 | 128.038 | 1577.6734 | 2378.3093 | 30.7608
239 | 403540.523 | 2417.8694 | 313.1781 | 2535519.885 | 6130.5559 | 6146.5545 | 120320.6685 | -11500.8302 | 4005.7199 | 4001.285 | 133.2109 | 1578.0925 | 2417.8694 | 30.0372
240 | 409859.096 | 2460.0555 | 337.3241 | 2575220.65 | 6335.1858 | 6353.147 | 119316.6065 | -11323.5282 | 4069.7721 | 4065.0427 | 138.6546 | 1578.5221 | 2460.0555 | 29.3178
241 | 416276.604 | 2505.1593 | 364.0964 | 2615543.042 | 6552.3519 | 6572.5837 | 118281.5379 | -11148.9596 | 4134.9373 | 4129.8902 | 144.3745 | 1578.98 | 2505.1593 | 28.6054
242 | 422794.596 | 2553.4029 | 393.8316 | 2656496.7935 | 6783.1066 | 6805.9727 | 117221.7675 | -10977.0822 | 4201.1748 | 4195.7854 | 150.375 | 1579.4431 | 2553.4029 | 27.9021
243 | 429414.646 | 2605.1826 | 427.0074 | 2698091.7944 | 7029.0218 | 7054.9621 | 116132.6084 | -10807.8545 | 4268.588 | 4262.8288 | 156.6852 | 1579.9421 | 2605.1826 | 27.2063
244 | 436138.351 | 2660.7951 | 464.2095 | 2740338.0789 | 7291.4781 | 7321.0318 | 114993.6522 | -10641.2358 | 4337.1376 | 4330.9767 | 163.3485 | 1580.4534 | 2660.7951 | 26.5137
245 | 442967.336 | 2721.8425 | 506.1959 | 2783245.8571 | 7575.5569 | 7609.3807 | 113879.4241 | -10477.1857 | 4407.9619 | 4401.3675 | 170.3649 | 1581.3793 | 2721.8425 | 25.8349
246 | 449903.247 | 2786.4946 | 553.5443 | 2826825.4712 | 7876.934 | 7915.8339 | 112642.2895 | -10315.6647 | 4478.9016 | 4471.8315 | 177.8097 | 1581.927 | 2786.4946 | 25.1495
247 | 456947.76 | 2856.4224 | 606.9814 | 2871087.4518 | 8201.0385 | 8245.9629 | 111412.7435 | -10156.6337 | 4551.0547 | 4543.4735 | 185.5945 | 1582.4922 | 2856.4224 | 24.4806
248 | 464102.575 | 2932.2573 | 667.4802 | 2916042.4803 | 8550.587 | 8602.6922 | 110202.6163 | -10000.0545 | 4624.4456 | 4616.3167 | 193.7151 | 1583.076 | 2932.2573 | 23.8304
249 | 471369.418 | 3014.7022 | 737.0808 | 2961701.4014 | 8928.6478 | 8989.4955 | 108894.4925 | -9845.8891 | 4699.1117 | 4690.3774 | 202.4033 | 1583.6767 | 3014.7022 | 23.1734
250 | 478750.045 | 3104.649 | 817.1567 | 3008075.2486 | 9339.0179 | 9410.5185 | 107549.7464 | -9694.1005 | 4775.1024 | 4765.7079 | 211.5927 | 1584.3047 | 3104.649 | 22.523
251 | 486246.236 | 3203.0742 | 909.4347 | 3055175.2057 | 9785.9527 | 9870.4689 | 106210.9685 | -9544.6518 | 4852.4133 | 4842.3061 | 221.2283 | 1584.952 | 3203.0742 | 21.8883
252 | 493859.802 | 3311.0306 | 1017.1865 | 3103012.6517 | 10274.1699 | 10374.8757 | 104792.2288 | -9397.5072 | 4931.0176 | 4920.1235 | 231.5173 | 1585.5957 | 3311.0306 | 21.2516
253 | 501592.579 | 3428.6605 | 1141.6048 | 3151599.1226 | 10805.7633 | 10926.3713 | 103422.6446 | -9252.631 | 5010.0436 | 4998.3142 | 242.1305 | 1585.9613 | 3428.6605 | 20.6431
254 | 509446.435 | 3560.3526 | 1290.2267 | 3200946.3552 | 11396.4976 | 11542.5675 | 101954.8308 | -9109.9882 | 5091.5081 | 5078.842 | 253.6316 | 1586.6689 | 3560.3526 | 20.0245
255 | 517423.266 | 3706.5927 | 1466.622 | 3251066.2625 | 12050.3786 | 12228.8776 | 100477.5654 | -8969.5445 | 5174.322 | 5160.6361 | 265.7588 | 1587.3673 | 3706.5927 | 19.4185
256 | 525524.996 | 3870.0594 | 1677.8263 | 3301970.9334 | 12778.8235 | 12999.1178 | 99005.1439 | -8831.266 | 5258.6646 | 5243.8706 | 278.5285 | 1588.1032 | 3870.0594 | 18.8271
257 | 533753.582 | 4053.5267 | 1934.112 | 3353672.6641 | 13594.2016 | 13869.377 | 97483.0336 | -8695.1192 | 5344.4972 | 5328.481 | 292.1334 | 1588.8495 | 4053.5267 | 18.2399
258 | 542111.01 | 4260.6794 | 2248.4418 | 3406183.9329 | 14512.6576 | 14861.008 | 95920.9711 | -8561.0713 | 5431.8896 | 5414.5262 | 306.6181 | 1589.6165 | 4260.6794 | 17.6589
259 | 550599.297 | 4496.1095 | 2637.4989 | 3459517.4131 | 15554.369 | 16001.6003 | 94367.7336 | -8429.09 | 5520.8808 | 5502.0489 | 321.8913 | 1590.4094 | 4496.1095 | 17.0929
260 | 559220.493 | 4765.0159 | 3127.1244 | 3513685.9851 | 16742.7697 | 17326.8371 | 92768.6944 | -8299.1433 | 5611.4109 | 5590.9545 | 338.1867 | 1591.1936 | 4765.0159 | 16.5322
261 | 567976.677 | 5074.1666 | 3751.4436 | 3568702.7117 | 18108.1922 | 18885.3724 | 91159.5606 | -8171.2 | 5703.4628 | 5681.2239 | 355.4498 | 1591.9577 | 5074.1666 | 15.9832
262 | 576869.965 | 5432.2208 | 4562.3744 | 3624580.8882 | 19689.5238 | 20746.6981 | 89535.0916 | -8045.2291 | 5797.1784 | 5772.9767 | 373.7861 | 1592.7294 | 5432.2208 | 15.4446
263 | 585902.502 | 5849.099 | 5636.9337 | 3681333.992 | 21532.487 | 23008.1651 | 87888.7431 | -7921.2002 | 5892.5322 | 5866.1634 | 393.299 | 1593.4885 | 5849.099 | 14.9153
264 | 595076.47 | 6335.9865 | 7093.1312 | 3738975.733 | 23690.0997 | 25813.8776 | 86214.8629 | -7799.0834 | 5989.4927 | 5960.7244 | 414.1016 | 1594.2132 | 6335.9865 | 14.3944
265 | 604394.081 | 6908.2731 | 9122.662 | 3797520.0095 | 26234.3053 | 29406.6005 | 84565.4193 | -7678.8492 | 6088.88 | 6057.4763 | 436.1505 | 1595.1137 | 6908.2731 | 13.8885
266 | 613857.587 | 7571.0254 | 12004.9743 | 3856980.9713 | 29201.301 | 34136.6772 | 83035.1952 | -7560.4686 | 6189.6149 | 6155.4123 | 458.8371 | 1595.9146 | 7571.0254 | 13.4152
267 | 623469.271 | 8303.1411 | 16249.3078 | 3917372.963 | 32526.5005 | 40644.1892 | 81358.1265 | -7443.913 | 6291.6147 | 6254.2127 | 483.6529 | 1596.5323 | 8303.1411 | 12.9312
268 | 633231.452 | 9030.697 | 22647.336 | 3978710.5553 | 35930.5293 | 50205.349 | 79651.9628 | -7329.1543 | 6395.5145 | 6354.5467 | 510.2272 | 1597.1372 | 9030.697 | 12.4543
269 | 643146.489 | 9503.9063 | 32326.5768 | 4041008.57 | 38405.3667 | 65615.3027 | 77953.8079 | -7216.1648 | 6501.1849 | 6456.2801 | 538.4403 | 1597.6903 | 9503.9063 | 11.9907
270 | 653216.773 | 9077.3743 | 46219.0199 | 4104282.0305 | 37256.1041 | 94594.3002 | 76250.3208 | -7104.9171 | 6608.5529 | 6559.2826 | 568.4877 | 1598.1559 | 9077.3743 | 11.5381
271 | 663444.737 | 6593.0672 | 62457.7648 | 4168546.2236 | 27483.5055 | 169422.1815 | 74551.4265 | -6995.3845 | 6718.0005 | 6663.8882 | 600.4983 | 1598.6121 | 6593.0672 | 11.0973
272 | 673832.848 | 1538.9459 | 72271.5881 | 4233816.65 | 6515.6146 | 808156.4066 | 72859.0006 | -6887.5405 | 6829.3372 | 6769.8573 | 634.5632 | 1598.9963 | 1538.9459 | 10.6685
273 | 684383.614 | -3805.5736 | 67193.6058 | 4300109.068 | -16364.3815 | -292267.3021 | 71178.9996 | -6781.3591 | 6942.4417 | 6877.0201 | 670.75 | 1599.2664 | -3805.5736 | 10.2527
274 | 695099.583 | -6794.0686 | 52842.5993 | 4367439.4869 | -29672.6837 | -123777.4275 | 69504.6895 | -6676.8146 | 7057.5116 | 6985.4885 | 709.307 | 1599.4471 | -6794.0686 | 9.8483
275 | 705983.341 | -7564.752 | 38844.8686 | 4435824.1553 | -33555.9097 | -78523.3633 | 67831.9425 | -6573.8818 | 7174.5244 | 7095.1502 | 750.4477 | 1599.5111 | -7564.752 | 9.4546
276 | 717037.514 | -7276.2416 | 28490.0974 | 4505279.5727 | -32781.5027 | -57541.9798 | 66209.4109 | -6472.5359 | 7292.8644 | 7205.443 | 793.6684 | 1599.3332 | -7276.2416 | 9.0787
277 | 728264.773 | -6641.2534 | 21358.0437 | 4575822.5215 | -30389.1967 | -45399.9926 | 64597.1761 | -6372.7523 | 7413.3581 | 7316.9896 | 839.7188 | 1599.0545 | -6641.2534 | 8.7136
278 | 739667.826 | -5956.7828 | 16472.39 | 4647470.0165 | -27683.9694 | -37485.2962 | 62998.8603 | -6274.5071 | 7535.9119 | 7429.6025 | 888.7277 | 1598.6338 | -5956.7828 | 8.3598
279 | 751249.426 | -5324.3635 | 13064.2495 | 4720239.3555 | -25132.2703 | -31923.3247 | 61412.301 | -6177.7765 | 7660.1657 | 7542.8114 | 940.8406 | 1597.9722 | -5324.3635 | 8.0171
280 | 763012.369 | -4769.6639 | 10620.4741 | 4794148.1061 | -22866.4751 | -27799.2193 | 59853.2748 | -6082.5371 | 7786.1701 | 7656.5991 | 996.0288 | 1597.0719 | -4769.6639 | 7.6871
281 | 774959.494 | -4289.9858 | 8802.0253 | 4869214.1064 | -20888.8592 | -24597.8052 | 58375.2115 | -5988.7659 | 7916.0722 | 7773.1306 | 1054.0889 | 1596.383 | -4289.9858 | 7.3743
282 | 787093.685 | -3878.7289 | 7444.707 | 4945455.477 | -19182.0809 | -22071.4266 | 56869.3824 | -5896.4404 | 8045.9328 | 7888.0391 | 1116.0071 | 1595.0076 | -3878.7289 | 7.0681
283 | 799417.872 | -3524.8445 | 6394.2725 | 5022890.6276 | -17704.9085 | -20014.2523 | 55416.8603 | -5805.5382 | 8177.623 | 8003.3453 | 1181.0186 | 1593.3744 | -3524.8445 | 6.7766
284 | 811935.028 | -3218.3908 | 5573.6681 | 5101538.2383 | -16418.7437 | -18310.8359 | 53939.5087 | -5716.0375 | 8310.2103 | 8117.5315 | 1250.6305 | 1591.1929 | -3218.3908 | 6.4908
285 | 824648.177 | -2952.654 | 4910.5655 | 5181417.3093 | -15298.9323 | -16875.0981 | 52574.5933 | -5627.9164 | 8444.0391 | 8231.6961 | 1322.098 | 1588.6958 | -2952.654 | 6.2262
286 | 837560.385 | -2718.9651 | 4372.3093 | 5262547.1049 | -14308.6817 | -15644.7299 | 51198.4505 | -5541.1539 | 8580.1163 | 8345.7275 | 1398.6226 | 1585.8723 | -2718.9651 | 5.9671
287 | 850674.771 | -2513.1716 | 3929.4165 | 5344947.2223 | -13432.7698 | -14582.2211 | 49849.5431 | -5455.729 | 8717.1113 | 8458.4603 | 1479.1177 | 1582.5152 | -2513.1716 | 5.7186
288 | 863994.5 | -2330.8296 | 3559.6411 | 5428637.5479 | -12653.2291 | -13654.6371 | 48537.2673 | -5371.621 | 8855.1725 | 8569.9259 | 1563.5032 | 1578.6513 | -2330.8296 | 5.4812
289 | 877522.788 | -2168.309 | 3247.9065 | 5513638.2883 | -11955.2714 | -12837.635 | 47254.2579 | -5288.8097 | 8994.2217 | 8679.7703 | 1652.0792 | 1574.2364 | -2168.309 | 5.2538
290 | 891262.899 | -2022.8026 | 2982.5285 | 5599969.9518 | -11327.634 | -12112.9239 | 46004.8464 | -5207.275 | 9133.8739 | 8787.4823 | 1744.6804 | 1569.2017 | -2022.8026 | 5.0367
291 | 905218.15 | -1892.5221 | 2756.2799 | 5687653.3799 | -10764.0099 | -11469.7951 | 44792.6169 | -5126.9973 | 9271.2413 | 8890.3662 | 1840.141 | 1563.0992 | -1892.5221 | 4.8314
292 | 919391.91 | -1774.183 | 2557.8369 | 5776709.7405 | -10248.9403 | -10887.3019 | 43624.0895 | -5047.9572 | 9411.7812 | 8993.1766 | 1940.2539 | 1556.7991 | -1774.183 | 4.6351
293 | 933787.601 | -1666.8825 | 2384.2375 | 5867160.5346 | -9779.8675 | -10361.1216 | 42500.1275 | -4970.1356 | 9552.2749 | 9092.9319 | 2043.7159 | 1549.8011 | -1666.8825 | 4.4492
294 | 948408.698 | -1569.1045 | 2231.2899 | 5959027.5965 | -9350.3373 | -9882.7945 | 41414.3677 | -4893.5138 | 9693.0988 | 9189.6864 | 2150.8608 | 1542.1453 | -1569.1045 | 4.2726
295 | 963258.729 | -1479.7441 | 2096.0704 | 6052333.0931 | -8955.9043 | -9446.4757 | 40362.0666 | -4818.0732 | 9833.5896 | 9282.5956 | 2261.56 | 1533.7219 | -1479.7441 | 4.1045
296 | 978341.279 | -1397.8406 | 1975.4976 | 6147099.5496 | -8592.6655 | -9046.8425 | 39350.3347 | -4743.7956 | 9973.4844 | 9371.4729 | 2375.2336 | 1524.5357 | -1397.8406 | 3.9455
297 | 993659.99 | -1322.4707 | 1867.0919 | 6243349.8495 | -8256.6473 | -8678.8564 | 38379.6097 | -4670.6631 | 10113.2881 | 9456.6572 | 2491.8935 | 1514.6768 | -1322.4707 | 3.795
298 | 1009218.559 | -1252.4852 | 1767.8581 | 6341107.2216 | -7942.143 | -8335.6542 | 37448.1173 | -4598.658 | 10257.6565 | 9541.7377 | 2613.6392 | 1504.7431 | -1252.4852 | 3.6507
299 | 1025020.741 | -1188.1931 | 1679.5564 | 6440395.2594 | -7652.4332 | -8021.0623 | 36545.7462 | -4527.763 | 10396.3235 | 9617.9825 | 2736.0683 | 1493.3839 | -1188.1931 | 3.5153
300 | 1041070.351 | -1128.5701 | 1599.2677 | 6541237.9331 | -7382.2459 | -7728.7064 | 35675.835 | -4457.961 | 10534.0732 | 9689.306 | 2860.9802 | 1481.2649 | -1128.5701 | 3.3867
301 | 1057371.263 | -1073.1576 | 1525.9361 | 6643659.5839 | -7129.6938 | -7456.283 | 34838.2974 | -4389.2351 | 10670.6448 | 9755.4476 | 2988.0024 | 1468.3846 | -1073.1576 | 3.2649
302 | 1073927.413 | -1021.5892 | 1458.6541 | 6747684.9423 | -6893.3623 | -7202.0175 | 34035.5654 | -4321.5686 | 10805.265 | 9815.9445 | 3116.2662 | 1454.7129 | -1021.5892 | 3.1499
303 | 1090742.796 | -973.4818 | 1396.6868 | 6853339.1097 | -6671.6008 | -6963.9945 | 33265.1458 | -4254.9454 | 10937.9398 | 9870.7485 | 3245.6089 | 1440.2831 | -973.4818 | 3.0413
304 | 1107821.472 | -928.4809 | 1339.3874 | 6960647.5958 | -6462.8286 | -6740.4096 | 32523.9078 | -4189.3492 | 11069.095 | 9920.0604 | 3376.1654 | 1425.1634 | -928.4809 | 2.9383
305 | 1125167.562 | -886.2916 | 1286.0047 | 7069636.2937 | -6265.7594 | -6529.7032 | 31814.462 | -4124.7643 | 11199.2398 | 9964.4798 | 3507.6689 | 1409.4756 | -886.2916 | 2.8408
306 | 1142785.255 | -846.7292 | 1236.6944 | 7180331.5235 | -6079.7965 | -6331.3531 | 31125.9903 | -4061.1751 | 11326.3072 | 10001.9235 | 3639.5584 | 1392.9612 | -846.7292 | 2.7481
307 | 1160678.803 | -809.5595 | 1190.5149 | 7292760.0014 | -5903.9235 | -6143.9885 | 30468.8664 | -3998.5662 | 11450.9598 | 10033.7491 | 3770.9332 | 1375.8507 | -809.5595 | 2.6608
308 | 1178852.526 | -774.5869 | 1147.4304 | 7406948.8707 | -5737.3254 | -5966.8045 | 29834.9229 | -3936.9225 | 11572.5183 | 10059.0817 | 3901.7666 | 1358.0601 | -774.5869 | 2.5781
309 | 1197310.809 | -741.6304 | 1106.8831 | 7522925.6832 | -5579.2305 | -5798.8289 | 29228.925 | -3876.2291 | 11691.2474 | 10078.7383 | 4031.3841 | 1339.7365 | -741.6304 | 2.5001
310 | 1216058.11 | -710.527 | 1068.776 | 7640718.4494 | -5428.9369 | -5639.3432 | 28645.5137 | -3816.4714 | 11806.8604 | 10092.3236 | 4159.7668 | 1320.8606 | -710.527 | 2.4262
311 | 1235098.952 | -681.1366 | 1032.9258 | 7760355.5881 | -5285.862 | -5487.709 | 28082.6293 | -3757.635 | 11919.0317 | 10099.6893 | 4286.5828 | 1301.4467 | -681.1366 | 2.3561
312 | 1254437.934 | -653.3467 | 998.806 | 7881865.9957 | -5149.5909 | -5343.3176 | 27548.7937 | -3699.7056 | 12027.5963 | 10102.02 | 4410.466 | 1281.6787 | -653.3467 | 2.2905
313 | 1274079.721 | -627.025 | 966.4872 | 8005278.9832 | -5019.5101 | -5205.6035 | 27035.619 | -3642.6693 | 12132.4952 | 10098.7551 | 4531.9139 | 1261.5119 | -627.025 | 2.2284
314 | 1294029.057 | -602.0511 | 935.8619 | 8130624.358 | -4895.0514 | -5073.9744 | 26539.5617 | -3586.5122 | 12234.174 | 10090.0287 | 4651.2888 | 1240.9906 | -602.0511 | 2.1693
315 | 1314290.756 | -578.3564 | 906.6882 | 8257932.3675 | -4776.0283 | -4948.1553 | 26064.6705 | -3531.2209 | 12331.5732 | 10076.1539 | 4767.1744 | 1220.1788 | -578.3564 | 2.1137
316 | 1334869.71 | -555.8595 | 878.9793 | 8387233.7489 | -4662.1238 | -4827.8432 | 25606.9781 | -3476.782 | 12423.8329 | 10056.5791 | 4879.1879 | 1199.0341 | -555.8595 | 2.0611
317 | 1355770.886 | -534.4599 | 852.0962 | 8518559.7108 | -4552.8282 | -4712.3044 | 25178.2747 | -3423.1824 | 12513.2278 | 10034.712 | 4987.1025 | 1177.9822 | -534.4599 | 2.0121
318 | 1376999.328 | -514.0834 | 826.4506 | 8651941.9457 | -4447.82 | -4601.383 | 24763.8798 | -3370.4091 | 12598.5956 | 10008.2153 | 5091.6681 | 1156.7594 | -514.0834 | 1.9656
319 | 1398560.163 | -494.6574 | 801.8031 | 8787412.6674 | -4346.7583 | -4494.6589 | 24366.576 | -3318.4493 | 12680.8167 | 9978.3313 | 5192.9081 | 1135.5255 | -494.6574 | 1.9215
320 | 1420458.593 | -476.1331 | 778.1566 | 8925004.561 | -4249.4904 | -4391.9845 | 23984.4995 | -3267.2906 | 12758.9289 | 9944.7031 | 5290.24 | 1114.2519 | -476.1331 | 1.8798
321 | 1442699.906 | -458.4528 | 755.357 | 9064750.852 | -4155.7604 | -4293.0552 | 23619.1733 | -3216.9206 | 12833.3551 | 9908.2161 | 5383.5778 | 1093.0489 | -458.4528 | 1.8405
322 | 1465289.469 | -441.5632 | 733.3589 | 9206685.2624 | -4065.333 | -4197.6261 | 23269.3001 | -3167.3271 | 12904.2686 | 9869.1274 | 5473.0426 | 1071.9523 | -441.5632 | 1.8032
323 | 1488232.737 | -425.4095 | 712.2036 | 9350842.0668 | -3977.937 | -4105.4488 | 22930.5449 | -3118.4981 | 12972.112 | 9827.1236 | 5559.3336 | 1050.9346 | -425.4095 | 1.7677
324 | 1511535.246 | -409.9606 | 691.6103 | 9497256.049 | -3893.501 | -4016.3531 | 22610.5296 | -3070.422 | 13036.7829 | 9784.1081 | 5641.3227 | 1030.2037 | -409.9606 | 1.7344
325 | 1535202.622 | -395.177 | 671.8666 | 9645962.5581 | -3811.8623 | -3930.2834 | 22298.6202 | -3023.087 | 13097.0406 | 9737.7419 | 5719.4391 | 1009.5148 | -395.177 | 1.7026
326 | 1559240.578 | -381.004 | 652.9232 | 9796997.49 | -3732.6956 | -3846.9049 | 21992.363 | -2976.4817 | 13154.7982 | 9688.4106 | 5795.152 | 988.9163 | -381.004 | 1.6718
327 | 1583654.917 | -367.4303 | 634.1694 | 9950397.3061 | -3656.0773 | -3766.0779 | 21711.9781 | -2930.5949 | 13210.1415 | 9641.1531 | 5865.9325 | 968.9214 | -367.4303 | 1.6436
328 | 1608451.531 | -354.4028 | 616.2279 | 10106199.0269 | -3581.6654 | -3687.6878 | 21433.7334 | -2885.4155 | 13262.9682 | 9590.6895 | 5934.6175 | 948.9908 | -354.4028 | 1.6161
329 | 1633636.407 | -341.9001 | 598.8474 | 10264440.2697 | -3509.4129 | -3611.6004 | 21164.9854 | -2840.9327 | 13313.5374 | 9539.0617 | 6000.413 | 929.3309 | -341.9001 | 1.5897
330 | 1659215.624 | -329.901 | 582.0796 | 10425159.2302 | -3439.2707 | -3537.7848 | 20903.3272 | -2797.1356 | 13360.7963 | 9485.5687 | 6062.8985 | 909.8728 | -329.901 | 1.5645
331 | 1685195.356 | -318.3749 | 565.7946 | 10588394.7005 | -3371.0789 | -3466.0406 | 20651.1263 | -2754.0137 | 13406.126 | 9431.4768 | 6122.6474 | 890.7372 | -318.3749 | 1.5404
332 | 1711581.874 | -307.3002 | 549.9508 | 10754186.0828 | -3304.7634 | -3396.2816 | 20408.9284 | -2711.5565 | 13449.5003 | 9377.1655 | 6179.5596 | 871.9549 | -307.3002 | 1.5174
333 | 1738381.548 | -296.6488 | 534.7565 | 10922573.4007 | -3240.1684 | -3328.4245 | 20167.416 | -2669.754 | 13490.9247 | 9320.2224 | 6234.7312 | 853.2991 | -296.6488 | 1.4949
334 | 1765600.847 | -286.4056 | 519.939 | 11093597.3002 | -3177.2688 | -3262.3533 | 19935.7493 | -2628.5958 | 13531.056 | 9263.5395 | 6287.4723 | 835.0348 | -286.4056 | 1.4733
335 | 1793246.342 | -276.5884 | 506.2154 | 11267299.0682 | -3116.4039 | -3198.6314 | 19691.6707 | -2588.0722 | 13558.5361 | 9197.9047 | 6333.1408 | 816.3363 | -276.5884 | 1.4523
336 | 1821324.705 | -267.1134 | 492.4832 | 11443720.6261 | -3056.7716 | -3136.1167 | 19465.42 | -2548.1733 | 13592.0727 | 9137.0507 | 6380.1067 | 798.4336 | -267.1134 | 1.4321
337 | 1849842.715 | -257.9834 | 479.0983 | 11622904.5675 | -2998.5164 | -3075.066 | 19245.8108 | -2508.8895 | 13626.4951 | 9076.4764 | 6426.3627 | 780.9129 | -257.9834 | 1.4124
338 | 1878807.255 | -249.204 | 466.0869 | 11804894.1396 | -2941.8267 | -3015.671 | 19034.1768 | -2470.2114 | 13657.0052 | 9015.6854 | 6468.7463 | 763.7244 | -249.204 | 1.3937
339 | 1908225.318 | -240.7319 | 453.4244 | 11989733.2808 | -2886.3118 | -2957.5424 | 18826.488 | -2432.1295 | 13690.4252 | 8954.9867 | 6511.9727 | 746.8879 | -240.7319 | 1.3752
340 | 1938104.004 | -232.5783 | 441.2394 | 12177466.6017 | -2832.215 | -2900.9571 | 18620.5809 | -2394.6347 | 13719.9779 | 8892.3274 | 6552.0263 | 730.228 | -232.5783 | 1.3572
341 | 1968450.525 | -224.7163 | 429.482 | 12368139.4166 | -2779.3223 | -2845.6892 | 18415.4096 | -2357.7179 | 13749.4408 | 8828.1647 | 6591.3456 | 713.7828 | -224.7163 | 1.3394
342 | 1999272.207 | -217.1305 | 417.9827 | 12561797.7561 | -2727.549 | -2791.6027 | 18216.6244 | -2321.3703 | 13781.1495 | 8764.8786 | 6630.762 | 697.7408 | -217.1305 | 1.3219
343 | 2030576.49 | -209.8179 | 406.8546 | 12758488.3671 | -2676.9588 | -2738.7942 | 18020.2935 | -2285.583 | 13811.9734 | 8700.6049 | 6668.7329 | 681.9464 | -209.8179 | 1.3047
344 | 2062370.931 | -202.7628 | 396.0188 | 12958258.7316 | -2627.4529 | -2687.1423 | 17828.2955 | -2250.3474 | 13844.035 | 8636.4154 | 6706.3527 | 666.4796 | -202.7628 | 1.2878
345 | 2094663.204 | -195.9621 | 385.567 | 13161157.0669 | -2579.0886 | -2636.7299 | 17637.2967 | -2215.655 | 13874.216 | 8570.6602 | 6742.0305 | 651.2087 | -195.9621 | 1.2712
346 | 2127461.104 | -189.392 | 375.4124 | 13367232.3502 | -2531.6468 | -2587.3159 | 17447.9318 | -2181.4975 | 13908.2475 | 8504.419 | 6779.1166 | 636.2139 | -189.392 | 1.2545
347 | 2160772.549 | -183.0505 | 365.5364 | 13576534.332 | -2485.1912 | -2538.9565 | 17261.7354 | -2147.8665 | 13943.953 | 8437.9238 | 6816.1173 | 621.5079 | -183.0505 | 1.2379
348 | 2194605.578 | -176.9357 | 355.9872 | 13789113.5227 | -2439.7859 | -2491.7277 | 17077.2511 | -2114.754 | 13978.1429 | 8370.2365 | 6851.241 | 607.0177 | -176.9357 | 1.2217
349 | 2228968.36 | -171.0259 | 346.7485 | 14005021.2497 | -2395.2213 | -2445.419 | 16892.1268 | -2082.152 | 14016.5088 | 8301.1048 | 6887.9727 | 592.7235 | -171.0259 | 1.2052
350 | 2263869.189 | -165.3235 | 337.7959 | 14224309.6257 | -2351.6126 | -2400.1351 | 16708.8704 | -2050.0526 | 14054.9837 | 8231.0082 | 6923.6688 | 578.6578 | -165.3235 | 1.1888
351 | 2299316.489 | -159.8102 | 329.1641 | 14447031.5802 | -2308.7835 | -2355.7126 | 16523.1556 | -2018.4481 | 14098.3834 | 8158.6183 | 6961.3415 | 564.7263 | -159.8102 | 1.172
352 | 2335318.818 | -154.4884 | 320.7108 | 14673240.8848 | -2266.8455 | -2312.2193 | 16343.2082 | -1987.3308 | 14143.7587 | 8086.9823 | 6998.6458 | 551.1381 | -154.4884 | 1.1555
353 | 2371884.865 | -149.3485 | 312.5696 | 14902992.1341 | -2225.7395 | -2269.6349 | 16161.5712 | -1956.6932 | 14191.0774 | 8012.9568 | 7035.9799 | 537.6744 | -149.3485 | 1.1389
354 | 2409023.457 | -144.3804 | 304.6983 | 15136340.7897 | -2185.3909 | -2227.8735 | 15979.0024 | -1926.528 | 14242.9854 | 7936.9502 | 7074.651 | 524.3639 | -144.3804 | 1.1219
355 | 2446743.56 | -139.5793 | 297.0178 | 15373343.1866 | -2145.8012 | -2186.9139 | 15799.329 | -1896.8277 | 14299.8868 | 7860.5524 | 7114.5433 | 511.3105 | -139.5793 | 1.1049
356 | 2485054.277 | -134.9378 | 289.5497 | 15614056.5208 | -2106.927 | -2146.7191 | 15620.7382 | -1867.5854 | 14362.9405 | 7782.9288 | 7156.2394 | 498.4566 | -134.9378 | 1.0876
357 | 2523964.858 | -130.4569 | 282.3166 | 15858538.9116 | -2068.8563 | -2107.3813 | 15443.1893 | -1838.7938 | 14427.476 | 7703.759 | 7197.0755 | 485.7799 | -130.4569 | 1.0704
358 | 2563484.695 | -126.1224 | 275.3396 | 16106849.3708 | -2031.4352 | -2068.7546 | 15263.1191 | -1810.4462 | 14499.5989 | 7621.5214 | 7240.2634 | 473.1851 | -126.1224 | 1.0527
359 | 2603623.327 | -121.9295 | 268.5742 | 16359047.8336 | -1994.6498 | -2030.8126 | 15082.4614 | -1782.5355 | 14580.4648 | 7536.9123 | 7286.0577 | 460.7183 | -121.9295 | 1.0344
360 | 2644390.443 | -117.878 | 261.986 | 16615195.1779 | -1958.5655 | -1993.6099 | 14903.9073 | -1755.0551 | 14667.0544 | 7450.9976 | 7332.5863 | 448.4448 | -117.878 | 1.0161
361 | 2685795.884 | -113.9585 | 255.594 | 16875353.2364 | -1923.0891 | -1957.0596 | 14724.9154 | -1727.9984 | 14763.7228 | 7362.4322 | 7381.8358 | 436.2831 | -113.9585 | 0.99737
362 | 2727849.645 | -110.1688 | 249.4208 | 17139584.8097 | -1888.2481 | -1921.1944 | 14544.4659 | -1701.3588 | 14868.5729 | 7270.4671 | 7432.4813 | 424.1916 | -110.1688 | 0.9782
363 | 2770561.876 | -106.5025 | 243.4044 | 17407953.6719 | -1853.9904 | -1885.9461 | 14365.0918 | -1675.1299 | 14985.5848 | 7176.1286 | 7486.0979 | 412.2327 | -106.5025 | 0.95859
364 | 2813942.889 | -102.9593 | 237.5658 | 17680524.6154 | -1820.3738 | -1851.3771 | 14186.3771 | -1649.3053 | 15110.9013 | 7079.0755 | 7540.4179 | 400.3883 | -102.9593 | 0.93882
365 | 2858003.155 | -99.5312 | 231.9099 | 17957363.4314 | -1787.3173 | -1817.4083 | 14006.6667 | -1623.8789 | 15249.6254 | 6978.097 | 7597.3369 | 388.5925 | -99.5312 | 0.91849
366 | 2902753.31 | -96.212 | 226.3971 | 18238536.9478 | -1754.7656 | -1783.975 | 13827.288 | -1598.8445 | 15406.9597 | 6873.3889 | 7658.6259 | 376.8608 | -96.212 | 0.89747
367 | 2948204.155 | -93.0024 | 221.0456 | 18524113.0293 | -1722.787 | -1751.1487 | 13648.1189 | -1574.1959 | 15578.4563 | 6764.7815 | 7721.5662 | 365.1879 | -93.0024 | 0.87609
368 | 2994366.663 | -89.8933 | 215.8043 | 18814160.6213 | -1691.2674 | -1718.8038 | 13470.3361 | -1549.9274 | 15774.9774 | 6652.033 | 7790.1301 | 353.5652 | -89.8933 | 0.85391
369 | 3041251.975 | -86.886 | 210.7877 | 19108749.7248 | -1660.2828 | -1687.0442 | 13288.1119 | -1526.0331 | 15989.4861 | 6531.885 | 7859.7686 | 341.8269 | -86.886 | 0.83105
370 | 3088871.41 | -83.9732 | 205.8821 | 19407951.4591 | -1629.7472 | -1655.7558 | 13106.8404 | -1502.507 | 16233.6399 | 6406.2367 | 7934.524 | 330.0831 | -83.9732 | 0.80739
371 | 3137236.463 | -81.1563 | 201.0986 | 19711838.0495 | -1599.7398 | -1625.0193 | 12927.035 | -1479.3437 | 16502.1618 | 6275.5155 | 8011.0846 | 318.3628 | -81.1563 | 0.78335
372 | 3186358.808 | -78.4278 | 196.5008 | 20020482.8458 | -1570.162 | -1594.7535 | 12743.0586 | -1456.5375 | 16805.7095 | 6135.1111 | 8091.0634 | 306.4417 | -78.4278 | 0.75826
373 | 3236250.302 | -75.787 | 191.9589 | 20333960.3479 | -1541.0505 | -1564.9616 | 12563.547 | -1434.0828 | 17147.817 | 5989.6345 | 8175.1718 | 294.5631 | -75.787 | 0.73266
374 | 3286922.99 | -73.2285 | 187.584 | 20652346.2366 | -1512.3409 | -1535.6079 | 12380.3877 | -1411.9744 | 17537.6238 | 5832.9325 | 8262.728 | 282.4344 | -73.2285 | 0.70593
375 | 3338389.103 | -70.7527 | 183.3303 | 20975717.3616 | -1484.0894 | -1506.7363 | 12197.2828 | -1390.2067 | 17975.4797 | 5667.1466 | 8351.8338 | 270.1765 | -70.7527 | 0.67855
376 | 3390661.063 | -68.3546 | 179.1828 | 21304151.7727 | -1456.2376 | -1478.2852 | 12014.1833 | -1368.7747 | 18477.1265 | 5490.5364 | 8444.1308 | 257.7214 | -68.3546 | 0.65022
377 | 3443751.49 | -66.0316 | 175.1629 | 21637728.7635 | -1428.7728 | -1450.2472 | 11829.4082 | -1347.673 | 19054.0981 | 5300.9293 | 8538.4176 | 244.9855 | -66.0316 | 0.62083
378 | 3497673.198 | -63.7811 | 171.2563 | 21976528.847 | -1401.6868 | -1422.6107 | 11643.6879 | -1326.8967 | 19721.8554 | 5097.5441 | 8634.1225 | 231.954 | -63.7811 | 0.5904
379 | 3552439.203 | -61.6013 | 167.4503 | 22320633.8049 | -1374.9812 | -1395.3739 | 11457.8046 | -1306.4407 | 20498.2245 | 4879.8474 | 8730.1373 | 218.6249 | -61.6013 | 0.55897
380 | 3608062.726 | -59.4905 | 163.731 | 22670126.7074 | -1348.6576 | -1368.5351 | 11272.671 | -1286.3 | 21406.2746 | 4647.4526 | 8825.2949 | 205.0034 | -59.4905 | 0.52661
381 | 3664557.193 | -57.4445 | 160.1161 | 23025091.9124 | -1322.6638 | -1342.0467 | 11086.1831 | -1266.4698 | 22489.158 | 4396.6058 | 8918.8464 | 190.9485 | -57.4445 | 0.49296
382 | 3721936.241 | -55.4618 | 156.6108 | 23385615.1037 | -1297.009 | -1315.9194 | 10898.0934 | -1246.9453 | 23789.801 | 4126.453 | 9007.7678 | 176.4526 | -55.4618 | 0.4581
383 | 3780213.721 | -53.5395 | 153.1782 | 23751783.3098 | -1271.6576 | -1290.1088 | 10710.252 | -1227.7219 | 25388.2434 | 3835.6098 | 9092.1665 | 161.4872 | -53.5395 | 0.42186
384 | 3839403.701 | -51.6774 | 149.8323 | 24123684.9225 | -1246.6482 | -1264.6563 | 10522.3051 | -1208.7947 | 27366.0388 | 3524.7451 | 9167.0324 | 146.1114 | -51.6774 | 0.3845
385 | 3899520.467 | -49.872 | 146.6283 | 24501409.7033 | -1221.934 | -1239.5289 | 10329.6719 | -1190.1594 | 29881.5499 | 3189.6715 | 9227.043 | 130.1832 | -49.872 | 0.34569
386 | 3960578.533 | -48.1221 | 143.4317 | 24885048.8465 | -1197.5209 | -1214.7003 | 10141.6143 | -1171.8114 | 33188.0783 | 2834.4009 | 9275.478 | 113.8998 | -48.1221 | 0.30558
387 | 4022592.636 | -46.4252 | 140.3724 | 25274694.9473 | -1173.3834 | -1190.1762 | 9948.7725 | -1153.7462 | 37693.1255 | 2454.8732 | 9300.8301 | 97.1277 | -46.4252 | 0.26394
388 | 4085577.745 | -44.7797 | 137.4173 | 25670442.0587 | -1149.5154 | -1165.9428 | 9753.2757 | -1135.9595 | 44173.4093 | 2053.3733 | 9299.9008 | 79.9898 | -44.7797 | 0.2208
389 | 4149549.066 | -43.1836 | 134.4666 | 26072385.7229 | -1125.8987 | -1141.9581 | 9561.7023 | -1118.4471 | 54324.2288 | 1632.3999 | 9274.3808 | 62.6103 | -43.1836 | 0.17601
390 | 4214522.039 | -41.6363 | 131.6747 | 26480622.9522 | -1102.5551 | -1118.2806 | 9363.7261 | -1101.2046 | 72116.1929 | 1195.6495 | 9208.4803 | 45.1519 | -41.6363 | 0.12984
391 | 4280512.348 | -40.1345 | 128.9336 | 26895252.2922 | -1079.4269 | -1094.8276 | 9165.8521 | -1084.2279 | 111988.6455 | 745.1988 | 9104.8603 | 27.7074 | -40.1345 | 0.081846
392 | 4347535.923 | -38.6783 | 126.2667 | 27316373.8338 | -1056.5518 | -1071.6417 | 8967.0894 | -1067.513 | 277080.6933 | 289.8959 | 8957.7076 | 10.6125 | -38.6783 | 0.032363
393 | 4415608.943 | -37.2648 | 123.6833 | 27744089.2329 | -1033.8781 | -1048.6744 | 8765.9483 | -1051.0557 | -462864.7172 | -165.9541 | 8762.8054 | -5.9816 | -37.2648 | -0.018938
394 | 4484747.839 | -35.8934 | 121.1383 | 28178501.7284 | -1011.4214 | -1025.9302 | 8565.8136 | -1034.8522 | -118997.0423 | -613.418 | 8521.6577 | -21.769 | -35.8934 | -0.071983
395 | 4554969.301 | -34.5624 | 118.6933 | 28619716.1867 | -989.1652 | -1003.4077 | 8362.1912 | -1018.8984 | -65998.7063 | -1042.7692 | 8230.0699 | -36.4353 | -34.5624 | -0.1267
396 | 4626290.279 | -33.2706 | 116.3046 | 29067839.1078 | -967.1037 | -981.0905 | 8158.0287 | -1003.1906 | -44534.7176 | -1445.898 | 7893.164 | -49.7422 | -33.2706 | -0.18318
397 | 4698727.989 | -32.0164 | 114.011 | 29522978.6629 | -945.2209 | -958.9727 | 7950.4676 | -987.725 | -32943.5664 | -1813.1315 | 7512.8938 | -61.4142 | -32.0164 | -0.24134
398 | 4772299.918 | -30.7985 | 111.7313 | 29985244.7262 | -923.5006 | -937.0186 | 7744.8042 | -972.4978 | -25684.0107 | -2140.7313 | 7099.2841 | -71.3928 | -30.7985 | -0.30154
399 | 4847023.823 | -29.6155 | 109.5546 | 30454748.8682 | -901.9317 | -915.239 | 7534.8982 | -957.5053 | -20733.9103 | -2418.8095 | 6655.8801 | -79.4231 | -29.6155 | -0.36341
400 | 4922917.744 | -28.4663 | 107.4467 | 30931604.4376 | -880.5075 | -893.619 | 7323.0567 | -942.744 | -17149.1934 | -2644.8213 | 6193.6639 | -85.5055 | -28.4663 | -0.42702
401 | 5000000 | -27.3492 | 105.463 | 31415926.5359 | -859.1996 | -872.1448 | 7105.3045 | -928.2102 | -14439.0822 | -2814.8251 | 5720.1618 | -89.5987 | -27.3492 | -0.49209
2𝜋𝑓
ω
ω𝐿_𝑠
(〖𝑋_𝐿𝑠〗^2 "+" 〖𝑅_𝑠〗^2)/(𝑋_𝐿𝑠 )
(〖𝑋_𝐿𝑠〗^2 "+" 〖𝑅_𝑠〗^2)/𝑅_𝑠
(−1)/(ω𝐶_𝑝 )
1/(1/𝑋_𝐿𝑝 −1/𝑋_𝐶𝑝 )
𝑋_𝐶𝑝
𝑋_𝐿𝑝𝑐
𝑅_𝑝
𝑋_𝐿𝑝
𝑋_𝐿𝑠
𝑋_𝐿𝑠𝑐
𝐿_𝑠𝑐 , µ"H"
𝑋_𝐿𝑠𝑐/ω 〖10〗^6
(〖𝑅_𝑝〗^2 𝑋_𝐿𝑝𝑐)/(〖𝑋_𝐿𝑝𝑐〗^2 "+" 〖𝑅_𝑝〗^2 )
𝐿_𝑠 ,µ"H"
𝑅_𝑠𝑚 , "Ω"
𝐿_𝑠 , µ"H"
𝐿_𝑠 〖10〗^6
𝑅_𝑠𝑐
(𝑅_𝑝 〖𝑋_𝐿𝑝𝑐〗^2)/(〖𝑋_𝐿𝑝𝑐〗^2 "+" 〖𝑅_𝑝〗^2 )
𝑋_𝐿𝑠𝑐/𝑅_𝑠𝑐
𝑄_𝑐